## Sheet1
Prefix: SRSSR1
Identifier: Stanford Research SR1
Technology: LabVIEW PNP
Manufacturer: Stanford Research Systems |  |  | VI Name | Control | Command
{Action-Status |  |  | Wait | in:Delay:Double | :Instrument:Wait Delay
| {Sweep |  | Start Sweep | none | :Sweep:Start
|  |  | Free-Run Sweep | none | :Sweep:FreeRun
|  |  | Pause Or Resume Sweep | none | :Sweep:pauseResume
|  |  | Load Sweep Table | in:Table File Name:string | :Sweep:Source(I):LoadSweepTable FileName ColIndex
|  |  | "" | in:Column Index:int | ""
|  |  | "" | in:Axis:ring:swpInner¦swpOuter
}
| {Analyzers |  | Manual Trigger | in:Analyzer:ring:A0¦A1 | :Alyzr(i):Trigger:ManTrig v
# Revise logic
|  | # Revise logic | Reset Averages | none | :Alyzr(i):FFT:ResetAvg
|  |  | "" | in:Analyzer:ring:FFT¦FFT2¦THD¦IMD¦Jitter¦Histogram¦Octave | #empty
|  |  | Histogram Auto Scale | in:Analyzer:ring:A0¦A1 | :Alyzr(i):Histogram:AutoScale v
}
| {Multitone |  | Default Tones | none | :MultiToneCfg:DefaultTones
|  |  | Optimize Phase | in:Channel:ring:chanA¦chanB | :MultiToneCfg:OptimizePhase Channel
|  |  | Sort Tones | in:Channel:ring:chanA¦chanB | :MultiToneCfg:SortTones Channel
|  |  | Save Configuration | in:File Name:string | :MultiToneCfg:Save FileName
|  |  | Load Configuration | in:File Name:string | :MultiToneCfg:Load FileName
}
| {Digitizer |  | Acquire | in:File Name:string | :Digitizer:Acquire FileName
|  |  | Cancel | none | :Digitizer:Cancel
|  |  | Save | in:File Name:string | :Digitizer:Save FileName
|  |  | Reanalyze | none | :Digitizer:Reanalyze
}
| {Switcher |  | Create New Switch | in:Name:string | :Switcher:AddNewSwitch Name, SwitchType, ControlType, Address, ChainID, Order
|  |  | "" | in:Switch Type:ring:stBNCOutput¦stBNCInput¦stXLROutput¦stXLRInput | ""
|  |  | "" | in:Control Type:ring:ctSerial¦ctTCPIP | ""
|  |  | "" | in:Address:string | ""
|  |  | "" | in:ChainID:int | ""
|  |  | "" | in:Order:int | ""
|  |  | Change Switch Parameters | in:Type:ring:ctSerial¦ctTCPIP | :Switcher:ChangeDaisyChainAddress Type, Address, NewType, NewAddress
|  |  | "" | in:Address:string | ""
|  |  | "" | in:NewType:ring:ctSerial¦ctTCPIP | ""
|  |  | "" | in:NewAddress:string | ""
|  |  | Change Switch ID | in:Name:string | :Switcher:ChangeSwitchChainID Name, NewChainID
|  |  | "" | in:NewChainID:int | ""
|  |  | Change Switch Daisy Chain | in:Name:string | :Switcher:ChangeSwitchDaisyChain Name, Type, Address
|  |  | "" | in:Type:ring:ctSerial¦ctTCPIP | ""
|  |  | "" | in:Address:string | ""
|  |  | Change Switch Name | in:Name:string | :Switcher:ChangeSwitchName Name, NewName
|  |  | "" | in:New Name:string | ""
|  |  | Change Switch Order | in:Name:string | :Switcher:ChangeSwitchOrder Name, NewOrder
|  |  | "" | in:New Order:int | ""
|  |  | Delete Switch | in:Name :string | :Switcher:DeleteSwitch Name
|  |  | Make Switch | in:Name:string | :Switcher:MakeSwitch Name, PhysCh, State
|  |  | "" | in:Physical Channel:int | ""
|  |  | "" | in:State:ring:ssNone¦ssA¦ssB | ""
|  |  | Make Switch Enumeration | in:Switch Type:ring:stBNCOutput¦stBNCInput¦stXLROutput¦stXLRInput | :Switcher:MakeSwitchEnumSwitch Type, ChEnum, State
|  |  | "" | in:Channel Enum:int | ""
|  |  | "" | in:State:ring:ssNone¦ssA¦ssB | ""
|  |  | Reset Switch | in:Name:string | :Switcher:ResetSwitch Name
|  |  | Reset Network | in:Switch Type:ring:stBNCOutput¦stBNCInput¦stXLROutput¦stXLRInput | :Switcher:ResetNetwork SwitchType
}
| {Analog Generator |  | Execute Burst Trigger | none | :AnlgGen:BurstExecuteTrigger
|  |  | Create Analog Waveform | in:Type:ring:awfSine¦awfLoDistSine¦awfPhasedSine¦awfNoise¦awfUSASI¦awfSquare¦awfRamp¦awfArb¦awfChirp¦awfMultiTone¦awfIMD¦awfSyncBurstSine¦awfDC¦awfPolarity¦awfMLS¦awfLogSine | :AnlgGen:Ch(ch):AddWaveform? Type
|  |  | "" | out:Waveform Channel ID:int
|  |  | Clear Analog Waveforms | none | :DigGen:Ch(ch):ClearWaveforms
|  |  | Delete Analog Waveform | in:Waveform Channel ID:int | :AnlgGen:Ch(ch):DeleteWaveform ChanID
}
| {Digital Generator |  | Create Digital Waveform | in:Type:ring:dwfSine¦dwfPhasedSine¦dwfNoise¦dwfUSASI¦dwfSquare¦dwfRamp¦dwfArb¦dwfChirp¦dwfMultiTone¦dwfIMD¦dwfConstant¦dwfCount¦dwfRotate¦dwfStair¦dwfJTest¦dwfPolarity¦dwfMLS¦dwfLogSine | :DigGen:Ch(ch):AddWaveform? Type
|  |  | "" | out:Waveform Channel ID:int
|  |  | Clear Digital Waveforms | none | :DigGen:Ch(ch):ClearWaveforms
|  |  | Delete Digital Waveform | in:Waveform Channel ID:int | :DigGen:Ch(ch):DeleteWaveform ChanID
}
| {Quick Measurements |  | Run Auto Setup | none | :QuickMeas:Setup
|  |  | Cancel Automated Measurement | none | :QuickMeas:CancelAutomMeas
|  |  | Begin Automated Measurement | none | :QuickMeas:ExecAutomMeas
|  |  | Start Reference Free-Run | none | :QuickMeas:Reference:FreeRun
|  | # Revise logic | Start Free-Run | in:Measurement:ring:Level SNR THDN Distortion IMDistortion Crosstalk FrequencyResponse InputOutputPhase InterchannelPhase | :QuickMeas:Level:FreeRun v
|  | # Revise logic | Start Quick Measurement Sweep | in:Measurement:ring:Level SNR THDN Distortion IMDistortion Crosstalk FrequencyResponse InputOutputPhase InterchannelPhase | :QuickMeas:Level:Sweep v
}
}
{Configure |  |  | Configure Analog Inputs | in:Channel:ring:ChannelA¦ChannelB
|  |  | "" | in:Hi-Res Sample Rate:ring:srHz64k¦ srHz128k¦srOSR¦srOSRx2 | :AnlgInputs:HiResSampleRate Value
|  |  | "" | in:Auto Range:bool:Enabled Disabled | :Ch(Ch):AutoRange Value
|  |  | "" | in:Coupling:bool:Enabled Disabled | :Ch(Ch):Coupling Value
|  |  | "" | in:Optional Filter:ring:ifNone¦ifFiler1¦ifFilter2¦ifFilter3¦ifFilter4¦ifGround | :Ch(Ch):OptionalFilter Value
|  |  | "" | in:Range:int | :Ch(Ch):Range Value
|  |  | "" | in:Source:ring:aiXLR¦aiBNC¦aiGenMon¦aiDigCommonMode | :Ch(Ch):Source Value
|  |  | "" | in:Zin:ring:aiHiZ¦aiz300¦aiz600 | :Ch(Ch):Zin Value
|  |  | Configure Digital Outputs | in:Output Sampling Rate:int | :DigIO:OSR Value
|  |  | "" | in:Output Carrier Amp Balance:double | :DigIO:OutputCarrierAmpBal Value
|  |  | "" | in:Output Carrier Amp Unbalanced:double | :DigIO:OutputCarrierAmpUnbal Value
|  |  | "" | in:Output Dual Connector:bool:Enabled Disabled | :DigIO:OutputDualConnector Value
|  |  | "" | in:Output Num Bits:int | :DigIO:OutputNumBits Value
|  |  | "" | in:Output Source:ring:dosXLR¦dosBNC | :DigIO:OutputSource Value
|  |  | "" | in:Digital Preemphasis:ring:dioNoDeem¦dioCD501dB0¦dioCD501dB10¦dioJ17dB0¦dioJ17dB20 | :DigIO:DigPreemphasis Value
|  |  | "" | in:Frame Sync Out Invert:bool:Enabled Disabled | :DigIO:FrameSyncOutInvert Value
|  |  | Configure Digital Inputs | in:Deemphasis:ring:dioNoDeem¦dioCD501dB0¦dioCD501dB10¦dioJ17dB0¦dioJ17dB20 | :DigIO:Deemphasis Value
|  |  | "" | in:Input Block DC:bool:Enabled Disabled | :DigIO:InputBlockDC Value
|  |  | "" | in:Input Carrier EQ:bool:Enabled Disabled | :DigIO:InputCarrierEq Value
|  |  | "" | in:Input Connector Select:ring:dioC0,dioC1) | :DigIO:InputConnectorSelect Value
|  |  | "" | in:Input Dual Connector:bool:Enabled Disabled | :DigIO:InputDualConnector Value
|  |  | "" | in:Input Num Bits:int | :DigIO:InputNumBits Value
|  |  | "" | in:Input Source:ring:dioXlR,diBNC,diOptical,diGenMin,diNone) | :DigIO:InputSource Value
|  |  | "" | in:Input Term:bool:Enabled Disabled | :DigIO:InputTerm Value
|  |  | Configure Digital Audio Reference | in:Input Sampling Rate Ref:ring:dioGenerator¦dioMeasured¦dioStatusBits¦dioUser | :DigIO:ISRRef Value
|  |  | "" | in:User Input Sampling Rate Ref:int | :DigIO:UserISRRef Value
|  |  | Configure Square Wave Input | in:Square Wave Input:bool:Enabled Disabled | :DigIO:SqWaveInput Value
| {Sweep |  | Configure Basic Sweep | in:Pre Sweep Delay:double | :Sweep:PreSweepDelay Value
|  |  | "" | in:Repeat:bool:Enabled Disabled | :Sweep:Repeat Value
|  |  | "" | in:Timeout:double | :Sweep:Timeout Value
|  |  | Configure Sweep Source | in:Source Axis:bool:Enabled Disabled
|  |  | "" | in:Sweep Source Type:ring:Internal¦Switcher¦Time¦None
|  |  | "" | in:Time Source TimeID:bool:Enabled Disabled
|  |  | Configure External Sweep | in:Start Method:ring:ssStartWithinkTol¦ssStartWithinRAnge¦ssStartAnywhere | :Sweep:StartMethod Value
|  |  | "" | in:Stop Method:bool:Enabled Disabled | :Sweep:StopMethod Value
|  |  | Configure Internal Sweep Source | in:Enable Log:bool:Enabled Disabled | :Sweep:Source(I):Log Value
|  |  | "" | in:Axis:bool:Enabled Disabled
|  |  | "" | in:Linear Step:int | :Sweep:Source(I):InternLinStep Value
|  |  | "" | in:Log Step:double | :Sweep:Source(I):InternLogStep Value
|  |  | "" | in:Number Of Steps:int | :Sweep:Source(I):IntNumSteps Value
|  |  | Configure Sweep Table | in:Table File Name:string | :Sweep:Source(I):TableName Value
|  |  | "" | in:Table Column Index:int | :Sweep:Source(I):TableColIndex Value
|  | # Revise Logic | Configure External Sweep Source | in:Relative:bool:Enabled Disabled
|  |  | "" | in:External Step:double
|  |  | "" | in:Minimum Level:double
|  |  | "" | in:Start Tolerance:double
|  |  | "" | in:Stop Tolerance:double
|  |  | "" | in:Start Value:double
|  |  | "" | in:Stop Value:double
|  |  | Configure Switcher Sweep Input | in:Channel:ring:ChannelA,ChannelB)
|  |  | "" | in:Input Switch:bool:Enabled Disabled
|  |  | "" | in:Starting Logical Channel:int
|  |  | "" | in:Network Name:string | :Sweep:Source(I):InSwitchName Value
|  |  | "" | in:Switch Step Size:int | :Sweep:Source(I):InSwitchStep Value
|  |  | "" | in:Switch Number Of Steps:int | :Sweep:Source(I):SwitchNumSteps Value
|  |  | Configure Switcher Sweep Output | in:Channel:ring:ChannelA,ChannelB)
|  |  | "" | in:Output Switch:bool:Enabled Disabled
|  |  | "" | in:Starting Logical Channel:int
|  |  | "" | in:Network Name:string | :Sweep:Source(I):OutSwitchName Value
|  |  | "" | in:Switch Step Size:int | :Sweep:Source(I):OutSwitchStep Value
|  |  | "" | in:Switch Number Of Steps:int | :Sweep:Source(I):SwitchNumSteps Value
|  |  | Configure Sweep Settling | in:Settler Number:int
|  |  | "" | in:Delay:double | :Sweep:Settling(I):Delay Value
|  |  | "" | in:Threshold:double | :Sweep:Settling(I):Thresh Value
|  |  | "" | in:Algorithm Type:ring:stlNone,stlExponential,stlFlat,stlAverage,stlSequential) | :Sweep:Settling(I):Method Value
|  |  | "" | in:Number Of Points:int | :Sweep:Settling(I):N Value
|  |  | "" | in:Tolerance:double | :Sweep:Settling(I):Tolerance Value
}
| {Analyzers |  | Configure Basic Anaylzer Inputs | in:Analyzer:ring:A0¦A1
|  |  | "" | in:Measurement Function:ring:azTimeDomeDet,azFFT,azFFT2Ch,azTHD,azIMD,azMultitone,azJitter,azHistogram,azOctave) | :Alyzr(I):Function Value
|  |  | "" | in:Sample Rate:ring:azHiBW,azHiRes,azISR,azDetOutSR) | :Alyzr(I):SampleRate Value
|  |  | "" | in:Input Source:ring:azAnlg,azDig,azAnlgA,azAnlgB,azDigA,azDigB,azDetOut) | :Alyzr(I):Source Value
|  |  | Configure Analog References | in:Decibel Reference A :double | :Alyzr(I):AnlgdBrA Value
|  |  | "" | in:Decibel Reference B:double | :Alyzr(I):AnlgdBrB Value
|  |  | "" | in:Analog Frequency:double | :Alyzr(I):AnlgFreq Value
|  |  | "" | in:Decibel Reference Impedance:double | :Alyzr(I):dBmZ Value
|  |  | "" | in:Watts Reference Impedance:double | :Alyzr(I):WattsZ Value
|  |  | Configure Digital References | in:Decibel Reference A :double | :Alyzr(I):DigdBrA Value
|  |  | "" | in:Decibel Reference B:double | :Alyzr(I):DigdBrB Value
|  |  | "" | in:Digital Audio Frequency:double | :Alyzr(I):DigFreq Value
|  |  | "" | in:Volts/Full Scale:double | :Alyzr(I):DigVfs Value
|  |  | Configure Analyzer Trigger | in:Analyzer:ring:A0,A1)
|  |  | "" | in:Enable Trigger:bool:Enabled Disabled | :Alyzr(i):Trigger:Active v
|  |  | "" | in:Trigger Source:ring:trgInputCh,trgOtherCh,trgExt,trgManual,trgGen,trgDigAudBlock,trgBurstA,trgBurstB) | :Alyzr(i):Trigger:Source Value
|  |  | "" | in:Jitter Level:int | :Alyzr(i):Trigger:JitterLevel Value
|  |  | "" | in:Generator Trigger Source:ring:trgAnlgA,trgAnlgB,trgDigA,trgDigB,trgJitter) | :Alyzr(i):Trigger:GenTriggerSource Value
|  |  | "" | in:Trigger Polarity:bool:Enabled Disabled | :Alyzr(i):Trigger:Polarity Value
|  |  | Configure Analog Trigger Level | in:Analyzer:ring:A0,A1)
|  |  | "" | in:Level A:double | :Alyzr(i):Trigger:AnlgLevelA Value
|  |  | "" | in:Level B:double | :Alyzr(i):Trigger:AnlgLevelB Value
|  |  | Configure Digital Trigger Level | in:Analyzer:ring:A0,A1)
|  |  | "" | in:Level A:double | :Alyzr(i):Trigger:DigLevelA Value
|  |  | "" | in:Level B:double | :Alyzr(i):Trigger:DigLevelB Value
|  | {FFT | Configure Basic Single Channel FFT | in:Analyzer:ring:A0¦A1
|  |  | "" | in:Lines:ring:fftl32k,fftl16k,fftl8k,fftl4k,fftl2k,fftl1k,fftl512,fftl256) | :Alyzr(i):FFT:Lines Value
|  |  | "" | in:Frequency Span:ring:fftFsDiv2,fftFsDiv4,fftFsDiv8,fftFsDiv16,fftFsDiv32,fftFsDiv64,fftFsDiv128,fftFsDiv256,fftFsDiv512, fftFsDiv1024) | :Alyzr(i):FFT:Span Value
|  |  | "" | in:Start Frequency:double | :Alyzr(i):FFT:StartFreq Value
|  |  | "" | in:Center Frequency:double | :Alyzr(i):FFT:CenterFreq Value
|  |  | "" | in:Stop Frequency:double | :Alyzr(i):FFT:StopFreq Value
|  |  | "" | in:FFT Window:ring:fftBlackmanHarris¦fftHann¦fftHamming¦fftEquiripple¦fftFlattop¦fftGaussian¦fftKaiser¦fftUniform¦fftRifeVincent4¦fftRifeVincent5¦fftRifeVincent10¦fftBlackmanHarris7¦fftVariable | :Alyzr(i):FFT:Window Value
|  |  | "" | in:DC Correction Mode:ring:dcmNone,dcmMean,dcmPkPK) | :Alyzr(i):FFT:DCCorrectionMode v
|  |  | Configure Single ChannelAveraging | in:Analyzer:ring:A0,A1)
|  |  | "" | in:FFT Single ChannelAveraging:ring:avgNone,avgFixedLength,avgContinous) | :Alyzr(i):FFT:Averaging Value
|  |  | "" | in:Number Of Averages:int | :Alyzr(i):FFT:NumAverages Value
|  |  | Configure Single Channel Variable Time Window | in:Analyzer:ring:A0,A1)
|  |  | "" | in:Start Time:double | :Alyzr(i):FFT:VarTimeStart Value
|  |  | "" | in:Stop Time:double | :Alyzr(i):FFT:VarTimeStop Value
|  |  | Configure Single Channel Phase | in:Analyzer:ring:A0,A1)
|  | # Revise Logic | "" | in:Input Type:ring:Analog,Digital) | # :Alyzr(i):FFT:AnlgPhaseThreshold Value, :Alyzr(i):FFT:DigPhaseThreshold Value
|  |  | "" | in:Amplitude Threshold:double | :Alyzr(i):FFT:PhaseUnwrap Value
|  |  | "" | in:Phase Unwrap:bool:Enabled Disabled
|  |  | Configure Basic Dual Channel FFT | in:Analyzer:ring:A0,A1)
|  |  | "" | in:Lines:ring:fftl32k,fftl16k,fftl8k,fftl4k,fftl2k,fftl1k,fftl512,fftl256) | :Alyzr(i):FFT2Ch:Lines Value
|  |  | "" | in:Span:ring:fftFsDiv2,fftFsDiv4,fftFsDiv8,fftFsDiv16,fftFsDiv32,fftFsDiv64,fftFsDiv128,fftFsDiv256,fftFsDiv512, fftFsDiv1024) | :Alyzr(i):FFT2Ch:Span Value
|  |  | "" | in:Start Frequency:double | :Alyzr(i):FFT2Ch:StartFreq Value
|  |  | "" | in:Center Frequency:double | :Alyzr(i):FFT2Ch:CenterFreq Value
|  |  | "" | in:Stop Frequency:double | :Alyzr(i):FFT2Ch:StopFreq Value
|  |  | "" | in:FFT Window:ring:fftBlackmanHarris¦fftHann¦fftHamming¦fftEquiripple¦fftFlattop¦fftGaussian¦fftKaiser¦fftUniform¦fftRifeVincent4¦fftRifeVincent5¦fftRifeVincent10¦fftBlackmanHarris7¦fftVariable | :Alyzr(i):FFT2Ch:Window Value
|  |  | "" | in:DC Correction Mode:ring:dcmNone,dcmMean,dcmPkPK) | :Alyzr(i):FFT2Ch:DCCorrectionMode Value
|  |  | Configure Dual ChannelAveraging | in:Analyzer:ring:A0,A1)
|  |  | "" | in:FFT Dual ChannelAveraging:ring:avgNone,avgFixedLength,avgContinous) | :Alyzr(i):FFT2Ch:Averaging Value
|  |  | "" | in:Number Of Averages:int | :Alyzr(i):FFT2Ch:NumAverages Value
|  |  | Configure Dual Channel Variable Time Window | in:Analyzer:ring:A0,A1)
|  |  | "" | in:Start Time:double | :Alyzr(i):FFT2Ch:VarTimeStart Value
|  |  | "" | in:Stop Time:double | :Alyzr(i):FFT2Ch:VarTimeStop Value
|  |  | Configure Dual Channel Phase | in:Analyzer:ring:A0,A1)
|  |  | "" | in:Phase Unwrap:bool:Enabled Disabled | :Alyzr(i):FFT2Ch:PhaseUnwrap Value
|  |  | Configure Dual Channel Response Threshold | in:Analyzer:ring:A0,A1)
|  |  | "" | in:Analog Magnitude Threshold:double | :Alyzr(i):FFT2Ch:AnlgRespThreshold Value
|  |  | "" | in:Digital Magnitude Threshold:double | :Alyzr(i):FFT2Ch:DigRespThreshold Value
|  |  | "" | in:Coherence Threshold:double | :Alyzr(i):FFT2Ch:CoherenceRespThreshold? Value
|  |  | Configure Dual Channel Impulse Response | in:Analyzer:ring:A0,A1)
|  |  | "" | in:Enable Calculate Impulse Response:bool:Enabled Disabled | :Alyzr(i):FFT2Ch:CalcImpulseResponse Value
|  |  | "" | in:Impulse Response Start Time:double | :Alyzr(i):FFT2Ch:IRStart Value
|  |  | "" | in:Impulse Response Stop Time:double | :Alyzr(i):FFT2Ch:IRStop Value
|  |  | "" | in:Impulse Response Start Window:ring:irwNone,irw5pct,irw10pct,irw20pct,irw30pct) | :Alyzr(i):FFT2Ch:IRStartWin Value
|  |  | "" | in:Impulse Response Stop Window:ring:irwNone,irw5pct,irw10pct,irw20pct,irw30pct) | :Alyzr(i):FFT2Ch:IRStopWin Value
|  | # Revise Logic | Configure FFT EQ File | in:Analyzer:ring:A0,A1)
|  |  | "" | in:Channel Mode:ring:Single,Dual)
|  |  | "" | in:File Name:string | :Alyzr(i):FFT2Ch:SetEqFile FileName
|  |  | Configure Trigger Delay | in:Analyzer:ring:A0¦A1
|  |  | "" | in:Channel Mode:ring:Single,Dual)
|  |  | "" | in:Delay Time:double | # :Alyzr(i):FFT:TriggerDelay Value, :Alyzr(i):FFT2:TriggerDelay Value
}
|  | {Time Domain Detector | Configure Basic TDD | in:Analyzer:ring:A0¦A1
|  |  | "" | in:Measurement:ring:adAmplitude,adRation,adTHDNAmpe,adTHDNRatio,adSINADRatio,adCrestFactor) | :Alyzr(i):TimeDomDetector:Measurement Value
|  |  | "" | in:Detect Rate:ring:adFast,adPrecise,adrps1,adrps2,adrps4,adrps8,adrps16,adrps32,adrps64,adrps128,adrps256) | :Alyzr(i):TimeDomDetector:DetectRate Value
|  |  | "" | in:TDD Response:ring:adRMS,adQuasiPk,adPeak) | :Alyzr(i):TimeDomDetector:Response Value
|  |  | "" | in:Weighting Filter:ring:adNoWt,adAWt,adCMsg,adCCITT,adCCIRwtd,adCCIRunwtd,adCCIR2kHz) | :Alyzr(i):TimeDomDetector:WeightingFilt Value
|  |  | "" | in:Post Filter Gain:ring:pfgAuto,pfgdBminus12,pfgdBminus6,pfgdB0,pfgdB6,pfgdB12,pfgdB18,pfgdB24,pfgdB30,pfgdB36,pfgdB42,pfgdB48,pfgdB54,pfgdB60,pfgdB66,AllowCoercion,False,True) | :Alyzr(i):TimeDomDetector:PostFilterGain Value
|  |  | Configure Notch | in:Analyzer:ring:A0,A1)
|  |  | "" | in:Bandpass Filter:ring:adNoNotchBP,adNotch,adBPHW,adBP3rdOct,adBP6thOct,adBP12Oct,adBP24Oct) | :Alyzr(i):TimeDomDetector:NotchBPFilt Value
|  |  | "" | in:Fixed Frequency:double | :Alyzr(i):TimeDomDetector:NotchBPFixedFreq Value
|  |  | "" | in:Bandpass Tuning Mode:ring:tmFixed,tmTuned) | :Alyzr(i):TimeDomDetector:NotchBPTuningMode Value
|  |  | "" | in:Bandpass Tuning Source:ring:tsMeasFreq,tsAnlgGenA,tsAnlgGenB,tsDigGenA,tsDigGenB,tsSweepSrc0,tsSweepSrc1) | :Alyzr(i):TimeDomDetector:NotchBPTuningSource Value
|  |  | Configure Band | in:Analyzer:ring:A0,A1)
|  |  | "" | in:Low Frequency Filter:ring:adDC,adHz22,adHz100,adHz400,adSharp400,adHzAES20,adHzAES40,adHzES80) | :Alyzr(i):TimeDomDetector:BandEdgeLo Value
|  |  | "" | in:High Frequency Filter:ring:adFsdiv2,adHzVar,adHzAES20k,adHzAES40k,adHzAES80k) | :Alyzr(i):TimeDomDetector:BandEdgeHi Value
|  |  | "" | in:Variable High Frequency Filter:double | :Alyzr(i):TimeDomDetector:BandEdgeHiVarFreq Value
|  |  | Configure Auto Detect | in:Analyzer:ring:A0,A1)
|  |  | "" | in:Enable TDD Frequency Status:ring:tmFixed,tmTuned) | :Alyzr(i):TimeDomDetector:AutoDetectMode Value
|  |  | "" | in:Frequency Source:ring:tsMeasFreq,tsAnlgGenA,tsAnlgGenB,tsDigGenA,tsDigGenB,tsSweepSrc0,tsSweepSrc1) | :Alyzr(i):TimeDomDetector:AutoDetect Value
|  |  | "" | in:Manual Frequency:int | :Alyzr(i):TimeDomDetector:AutoDetectFreq Value
}
|  | {Total Harmonic Distortion | Configure Basic THD | in:Analyzer:ring:A0¦A1
|  |  | "" | in:Tuning Mode:ring:tmFixed,tmTuned) | :Alyzr(i):THD:TuningMode Value
|  |  | "" | in:Tuning Source:ring:tsMeasFreq,tsAnlgGenA,tsAnlgGenB,tsDigGenA,tsDigGenB,tsSweepSrc0,tsSweepSrc1) | :Alyzr(i):THD:TuningSource Value
|  |  | "" | in:Fixed Frequency:double | :Alyzr(i):THD:FixedFreq Value
|  |  | Configure Averaging | in:Analyzer:ring:A0,A1)
|  |  | "" | in:THD Averaging:ring:avgFast,avgOnedB,avgHalfdB,avgTenthdB) | :Alyzr(i):THD:Averaging Value
|  |  | "" | in:Enable THD Sync Averaging:bool:Enabled Disabled | :Alyzr(i):THD:SyncAveraging Value
|  |  | Configure THD EQ File | in:Analyzer:ring:A0,A1)
|  |  | "" | in:File Name:string | :Alyzr(i):THD:SetEqFile FileName
|  |  | Configure Measurment Mode | in:Analyzer:ring:A0,A1)
|  |  | "" | in:Measurement 1:ring:thdAmplitude,thdRatio) | :Alyzr(i):THD:MeasMode0 Value
|  |  | "" | in:Measurement 2:ring:thdAmplitude,thdRatio) | :Alyzr(i):THD:MeasMode1 Value
|  |  | Configure Selected Harmonics | in:Analyzer:ring:A0,A1)
|  |  | "" | in:Harmonic Measurement 1:int | :Alyzr(i):THD:SelectedHarmonics0 Value
|  |  | "" | in:Harmonic Measurement 2:int | :Alyzr(i):THD:SelectedHarmonics1 Value
}
|  | {Intermodulation Distortion | Configure Basic IMD | in:Analyzer:ring:A0¦A1
|  |  | "" | in:Generator Link:ring:imdNoLink,imdDigGenA,imdDigGenB,imdAnlgGenA,imdAnlgGenB) | :Alyzr(i):IMD:GenLink Value
|  |  | "" | in:Product Selection:ring:imdSMPTE2,imdSMPTE23,imdSMPT234,imdCCIF2,imdCCIF23,imdDIMU5,imdDIMU54) | :Alyzr(i):IMD:Product Value
|  |  | Configure IMD Averaging | in:Analyzer:ring:A0,A1)
|  |  | "" | in:Averaging:ring:avgFast,avgOnedB,avgHalfdB,avgTenthdB) | :Alyzr(i):IMD:Averaging Value
|  |  | "" | in:Sync Averaging:bool:Enabled Disabled | :Alyzr(i):IMD:SyncAveraging Value
|  |  | Configure IMD EQ File | in:Analyzer:ring:A0,A1)
|  |  | "" | in:File Name:string | :Alyzr(i):IMD:SetEqFile FileName
}
|  | {Multitone | Configure Basic Multitone | in:Analyzer:ring:A0¦A1
|  |  | "" | in:Processing:ring:mpSync,mpWindow) | :Alyzr(i):Multitone:Processing Value
|  |  | "" | in:FFT Window:ring:fftBlackmanHarris,fftHann,fftHamming,fftEquiripple,fftFlattop,fftGaussian,fftKaiser,fftUniform,fftRifeVincent4,fftRifeVincent5,fftRifeVincent10,fftBlackmanHarris7) | :Alyzr(i):Multitone:Window Value
|  |  | "" | in:Invert EQ:bool:Enabled Disabled | :Alyzr(i):Multitone:InvertEq Value
|  |  | "" | in:Relative Mode:ring:mtAbsolute,mtRelGen,mtRelGenOther,mtRelTone,mtRelToneOther,mtRelTotal) | :Alyzr(i):Multitone:RelMode Value
|  |  | "" | in:Enable Analyze Noise :bool:Enabled Disabled | :Alyzr(i):Multitone:AnalyzeNoise Value
|  |  | Configure Computations | in:Analyzer:ring:A0,A1)
|  |  | "" | in:Max Harmonic:int | :Alyzr(i):Multitone:MaxHarmonic Value
|  |  | "" | in:Min Harmonic:int | :Alyzr(i):Multitone:MinHarmonic Value
|  |  | "" | in:Max IMD Product:int | :Alyzr(i):Multitone:MaxIMDProduct Value
|  |  | Configure Multitone EQ File | in:Analyzer:ring:A0,A1)
|  |  | "" | in:File Name:string | :Alyzr(i):Multitone:SetEqFile FileName
|  |  | Configure Frequency | in:Analyzer:ring:A0,A1)
|  |  | "" | in:Frequency Shift:int | :Alyzr(i):Multitone:FreqShift Value
|  |  | "" | in:Start Frequency:double | :Alyzr(i):Multitone:StartFreq Value
|  |  | "" | in:Stop Frequency:double | :Alyzr(i):Multitone:StopFreq Value
|  |  | Configure Trigger | in:Analyzer:ring:A0,A1)
|  |  | "" | in:Trigger Delay:double | :Alyzr(i):Multitone:TriggerDelay Value
|  |  | "" | in:Trigger Mode:ring:mttAuto,mttTrigger,mttValLoose,mttValNorm,mttValTight) | :Alyzr(i):Multitone:TriggerMode Value
}
|  | {Jitter | Configure Basic Jitter | in:Analyzer:ring:A0¦A1
|  |  | "" | in:Jitter Domain:ring:jdTime,jdFreq) | :Alyzr(i):Jitter:Domain Value
|  |  | "" | in:Jitter Units:ring:muUI,muSec) | :Alyzr(i):Jitter:MeasUnits Value
|  |  | "" | in:Jitter Analysis Gain:ring:jg1x,jg10x,jg20x,jg30x) | :Alyzr(i):Jitter:Gain Value
|  |  | "" | in:Time Weighting Filter:ring:adNoWt,adAWt,adCMsg,adCCITT,adCCIRwtd,adCCIRunwtd,adCCIR2kHz) | :Alyzr(i):Jitter:TimeWeightingFilt Value
|  |  | "" | in:Invert EQ:bool:Enabled Disabled | :Alyzr(i):Jitter:InvertEq Value
|  |  | Configure Band Limiting Filter | in:Analyzer:ring:A0,A1)
|  |  | "" | in:Band Edge High:double | :Alyzr(i):Jitter:BandEdgeHi Value
|  |  | "" | in:Enable Band Edge High:bool:Enabled Disabled | :Alyzr(i):Jitter:BandEdgeHiOn Value
|  |  | "" | in:Band Edge Low:double | :Alyzr(i):Jitter:BandEdgeLo Value
|  |  | "" | in:Enable Band Edge Low:bool:Enabled Disabled | :Alyzr(i):Jitter:BandEdgeLoOn Value
|  |  | Configure Frequency EQ File | in:Analyzer:ring:A0,A1)
|  |  | "" | in:File Name:string | :Alyzr(i):Jitter:FreqSetEqFile FileName
|  |  | Configure Time Domain | in:Analyzer:ring:A0,A1)
|  |  | "" | in:Time Domain Response:ring:jtRMS,jtPeak) | :Alyzr(i):Jitter:TimeResponse Value
|  |  | "" | in:Time Domain Detect Rate:ring:jtDigFs,jtJitGen,jtrps1,jtrps2,jtrps4,jtrps8,jtrps16,jtrps32,jtrps64,jtrps128,jtrps256) | :Alyzr(i):Jitter:TimeDetectRate Value
|  |  | Configure Frequency Domain | in:Analyzer:ring:A0,A1)
|  |  | "" | in:FFT Frequency Lines:ring:fftl32k,fftl16k,fftl8k,fftl4k,fftl2k,fftl1k,fftl512,fftl256) | :Alyzr(i):Jitter:FreqLines Value
|  |  | "" | in:Frequency Range:ring:fftFsDiv2,fftFsDiv4,fftFsDiv8,fftFsDiv16,fftFsDiv32,fftFsDiv64,fftFsDiv128,fftFsDiv256,fftFsDiv512,fftFsDiv1024) | :Alyzr(i):Jitter:FreqNumSpansDown Value
|  |  | "" | in:Frequency Window:ring:fftBlackmanHarris,fftHann,fftHamming,fftEquiripple,fftFlattop,fftGaussian,fftKaiser,fftUniform,..) | :Alyzr(i):Jitter:FreqWindow Value
|  |  | "" | in:Frequency Phase Threshold:double | :Alyzr(i):Jitter:FreqPhaseThreshold Value
|  |  | "" | in:Frequency Phase Unwrap:bool:Enabled Disabled | :Alyzr(i):Jitter:FreqPhaseUnwrap Value
|  |  | "" | in:Frequency DC Correction:ring:jdcNone,jdcAvg,jdcHalfPkPk) | :Alyzr(i):Jitter:FreqDCCorrectionMode Value
|  |  | Configure Jitter Frequency | in:Analyzer:ring:A0,A1)
|  |  | "" | in:Start Frequency:double | :Alyzr(i):Jitter:FreqStart Value
|  |  | "" | in:Center Frequency:double | :Alyzr(i):Jitter:FreqCenter Value
|  |  | "" | in:Stop Frequency:double | :Alyzr(i):Jitter:FreqStop Value
|  |  | Configure Frequency Domain Averaging | in:Analyzer:ring:A0,A1)
|  |  | "" | in:Frequency Averaging:ring:avgNone,avgFixedLength,avgContinuous,avgPeakFixedLength,avgPeakContinuous) | :Alyzr(i):Jitter:FreqAveraging Value
|  |  | "" | in:Frequency Number Of Averages:int | :Alyzr(i):Jitter:FreqNumAverages Value
|  |  | "" | in:Frequency Trigger Delay:double | :Alyzr(i):Jitter:FreqTriggerDelay Value
}
|  | {Histogram | Configure Basic Histogram | in:Analyzer:ring:A0¦A1
|  |  | "" | in:Sampling Frequency Divider:ring:hdFsdiv1,hdFsdiv2,hdFsdiv4,hdFsdiv8,hdFsdiv16,hdFsdiv32,hdFsdiv64,hdFsdiv128,hdFsdiv256,hdFsdiv512) | :Alyzr(i):Histogram:FsDivider Value
|  |  | "" | in:Sample Size:ring:hs64k,hs32k,hs16k,hs8k,hs4k,hs2k,hs1k,hs512) | :Alyzr(i):Histogram:SampleSize Value
|  |  | "" | in:Number Of Histogram Bins:ring:hb16,hb32,hb64,hb128,hb256,hb512) | :Alyzr(i):Histogram:NumBins Value
|  |  | "" | in:Exponential Fit:bool:Enabled Disabled | :Alyzr(i):Histogram:DoFit Value
|  |  | Configure Analog Scale | in:Analyzer:ring:A0,A1)
|  |  | "" | in:Analog Scale Max:double | :Alyzr(i):Histogram:AnlgScaleMax Value
|  |  | "" | in:Analog Scale Min:double | :Alyzr(i):Histogram:AnlgScaleMin Value
|  |  | Configure Digital Scale | in:Analyzer:ring:A0,A1)
|  |  | "" | in:Digital Scale Max:double | :Alyzr(i):Histogram:DigScaleMax Value
|  |  | "" | in:Digital Scale Min:double | :Alyzr(i):Histogram:DigScaleMin Value
|  |  | Configure Histogram Averaging | in:Analyzer:ring:A0,A1)
|  |  | "" | in:Averaging:ring:haContinuous,haSingle) | :Alyzr(i):Histogram:Averaging Value
|  |  | "" | in:Num Averages:int | :Alyzr(i):Histogram:NumAverages Value
}
|  | {Octave | Configure Basic Octave | in:Analyzer:ring:A0¦A1
|  |  | "" | in:Fractional Octave Mode:ring:osOctave,os3rdOctave,os12thOctave) | :Alyzr(i):Octave:OctMode Value
|  |  | "" | in:Averaging Time Constant:double | :Alyzr(i):Octave:TC Value
|  |  | "" | in:Averaging Mode:ring:oaExpAvg,oaPkAvg) | :Alyzr(i):Octave:AVG Value | # MIS-DOCUMENTED COMMAND
}
}
| {Multitone | # Revise Logic | Configure Multitone | in:Generator:ring:Analog¦Digital | :MultiToneCfg:Generator Value
|  |  | "" | in:Output Mode:ring:Stereo,Mono) | :MultiToneCfg:Stereo Value
|  |  | "" | in:Sample Rate:ring:mtHz512k,mtHz128k,mtHz64k,mtISR,mtOSR) | :MultiToneCfg:Fs Value
|  |  | "" | in:Multitone Signal Length:ring:ml512,ml1k,ml2k,ml4k,ml8k,ml16k,ml32k) | :MultiToneCfg:Length Value
|  |  | "" | in:Repeat Count:int | :MultiToneCfg:RepeatCount Value
|  |  | "" | in:Number Of Tones:int | :MultiToneCfg:NumTonesNominal Value
|  |  | Configure Multitone Frequency | in:Start Frequency:double | :MultiToneCfg:StartFreq Value
|  |  | "" | in:Stop Frequency:double | :MultiToneCfg:StopFreq Value
|  |  | "" | in:Tone Distribution Algorithm:ring:mfLinear,mfLog,mfOctave,mfDecade,mfPrime,mfLinearPrime,mfLogPrime) | :MultiToneCfg:FreqDist Value
|  |  | "" | in:Phase Distribution Algorithm:ring:mpZero,mpNewman,mpSchroeder,mpZygmund,mpRudin,mpRandom) | :MultiToneCfg:PhaseDist Value
|  | # Revise Logic | Configure Relative Tone | in:Channel:ring:chA,chB)
|  |  | "" | in:Relative Tone:int | # :MultiToneCfg:RelToneNumA Value,:MultiToneCfg:RelToneNumB Value
|  | # Revise Logic | Configure Tone | in:FIGURE ME OUT:ring:Tone A, Tone B)
|  |  | "" | in:Tone Number:int
|  |  | "" | in:Amplitude:double
|  |  | "" | in:Frequency:double
|  |  | "" | in:Enable Tone:bool:Enabled Disabled
|  |  | "" | in:Phase:double
}
| {Digitizer |  | Configure Basic Digitizer | in:Record Length:ring:drl4k¦drl8k¦drl16k¦drl32k¦drl64k¦drl128k¦drl256k¦drl512k¦drl1M¦drl2M | :Digitizer:RecordLength Value
|  |  | "" | in:Repeat Acquistion:bool:Enabled Disabled | :Digitizer:Repeat Value
|  |  | "" | in:Input Gain:ring:dgAuto,dgx1,dgx2,dgx4) | :Digitizer:InputGain Value
|  |  | "" | in:Jitter Detection:ring:AllBits,StableBits,Preamble,SqRising,SqFalling,SqBoth) | :Digitizer:JitterDetection Value
|  |  | Configure Digitizer Trigger | in:Trigger Source:ring:Auto,RcvAC1,RcvBC1,RcvBlkC1,RcvErrC1,RcvAC2,RcvBC2,RcvBlkC2,RcvErrC2,RcvARef,RcvBRef,RcvBlkRef,RcvErrRef,XmtA,XmtB,XmitBlk,RefOutA,RefOutB,RefOutBlk,Generator,ExtRise,ExtFall) | :Digitizer:TriggerSource Value
|  |  | "" | in:Post Trigger:int | :Digitizer:PostTrig Value
|  |  | Configure Interpolation | in:Enable Fast Interpolation:bool:Enabled Disabled | :Digitizer:FastInterpolation Value
|  |  | "" | in:Enable Rise Fall Edges:bool:Enabled Disabled | :Digitizer:RiseFallEdges Value
|  |  | Configure Spectrum | in:Calculate Spectrum:bool:Enabled Disabled | :Digitizer:CalcSpectrum Value
|  |  | "" | in:Spectrum Window:ring:BlkmanHarris,Hann,Flattop,EqRipple,Uniform) | :Digitizer:SpectrumWindow Value
|  |  | "" | in:Input Line Resolution:ring:il512,il1k,il2k,il4k,il8k,il16k) | :Digitizer:InputSpecLines Value
|  |  | "" | in:Jitter Line Resolution:ring:jl256,jl512,jl1k,jl2k,jl4k,jl8k) | :Digitizer:JitterSpecLines Value
|  |  | Configure Probability | in:Calculate Probability:bool:Enabled Disabled | :Digitizer:CalcProbability Value
|  |  | "" | in:Number Of Histogram Bins:ring:eb64,eb128,eb256,eb512,eb1024) | :Digitizer:NumBins Value
|  |  | Configure Eye Diagram | in:Calculate Eye Diagram:bool:Enabled Disabled | :Digitizer:CalcEyeDiag Value
|  |  | "" | in:Number Of Eyes:int | :Digitizer:NumEyes Value
|  |  | "" | in:Eye X Resolution:ring:er128,er256,er512,er1024) | :Digitizer:EyeXRez Value
|  |  | "" | in:Eye Y Resolution:ring:er128,er256,er512,er1024) | :Digitizer:EyeYRez Value
}
| {Clock Reference |  | Configure Basic Clock Reference | in:Clock Source:ring:crAES¦crExt¦crInt¦crNTSC¦crSECAM¦crPAL | :ClockRef:Source Value
|  |  | "" | in:Enable Clock Lock:bool:Enabled Disabled | :ClockRef:DoLock Value
|  |  | "" | in:Delay Output From Reference:double | :ClockRef:DelayOutFromRef Value
|  |  | "" | in:BNC Termination Status:bool:Enabled Disabled | :ClockRef:ExtTerm Value
|  |  | "" | in:AES Termination Status:bool:Enabled Disabled | :ClockRef:AESTerm Value
|  |  | Configure Clock Input Frequencies | in:AES Frequency:double | :ClockRef:AESFreq Value
|  |  | "" | in:BNC Frequency:double | :ClockRef:ExtFreq Value
|  |  | "" | in:NTSC Frequency:double | :ClockRef:NTSCFreq Value
|  |  | "" | in:PAL Frequency:double | :ClockRef:PALFreq Value
|  |  | "" | in:SECAM Frequency:double | :ClockRef:SECAMFreq Value
}
| {Analog Generator |  | Configure Basic Analog Generator | in:Connector Configuration:ring:aoUnbalGnd¦aoUnbalFloat¦aoBalGnd¦aoBalFloat¦aoBalCommon | :AnlgGen:ConnectorConfig Value
|  |  | "" | in:Output Impedance:ring:aozBal50Un25,aozBal150Un75,aoz600) | :AnlgGen:Zout Value
|  |  | "" | in:Output Mode:ring:Stereo,Mono) | :AnlgGen:Mono Value
|  |  | "" | in:Sample Rate:ring:agHz512k,agHz128k,agHz64k,agOSR,agISR) | :AnlgGen:SampleRate Value
|  |  | "" | in:AB Lock:bool:Enabled Disabled | :AnlgGen:ABLock Value
|  |  | "" | in:Auto On:bool:Enabled Disabled | :AnlgGen:AutoOnOff Value
|  |  | "" | in:Invert EQ:bool:Enabled Disabled | :AnlgGen:InvertEq Value
|  |  | Configure Analog Burst | in:Duty Cycle:double | :AnlgGen:BurstDutyCycle Value
|  |  | "" | in:Low Amplitude:double | :AnlgGen:BurstLoAmp Value
|  |  | "" | in:Burst Mode:ring:bmNone,bmTimed,bmGatedHi,bmGatedLo,bmShaped,bmTriggered) | :AnlgGen:BurstMode Value
|  |  | "" | in:Period:double | :AnlgGen:BurstPeriod Value
|  |  | Configure References | in:Decibel Impendance Reference:double | :AnlgGen:dBmZref Value
|  |  | "" | in:Decibel Relative Reference:double | :AnlgGen:dBrRef Value
|  |  | "" | in:Frequency Reference:double | :AnlgGen:FreqRef Value
|  |  | "" | in:Watt Impedance Reference:double | :AnlgGen:WattsZref Value
|  |  | Configure EQ File | in:Name:string | :AnlgGen:SetEqFile FileName
|  |  | Configure Analog Channel Settings | in:Channel:int
|  |  | "" | in:Gain:double | :AnlgGen:Ch(ch):Gain Value
|  |  | "" | in:Enable Generator Channel:bool:Enabled Disabled | :AnlgGen:Ch(ch):On Value
|  |  | Configure Analog Gen Sine | in:Channel:int
|  | # Revise Logic | "" | in:Sine Type:ring:Sine,LoDistSine,PhasedSine)
|  |  | "" | in:Amplitude:double | :AnlgGen:Ch(ch):Sine(i):Amp Value
|  |  | "" | in:Frequency:double | :AnlgGen:Ch(ch):Sine(i):Freq Value
|  |  | "" | in:Enable EQ Output Modification:bool:Enabled Disabled | :AnlgGen:Ch(ch):Sine(i):Eq Value
|  |  | "" | in:Enable Sine Waveform:bool:Enabled Disabled | :AnlgGen:Ch(ch):Sine(i):On Value
|  |  | "" | in:Phase Difference:double | :AnlgGen:Ch(ch):PhasedSine(i):Phase Value
|  |  | Configure Sync Burst Sine | in:Channel:int
|  |  | "" | in:Amplitude:double | :AnlgGen:Ch(ch):SyncBurstSine(i):Amp Value
|  |  | "" | in:Frequency:double | :AnlgGen:Ch(ch):SyncBurstSine(i):Freq Value
|  |  | "" | in:Low Amplitude:double | :AnlgGen:Ch(ch):SyncBurstSine(i):LoAmp Value
|  |  | "" | in:Trigger Mode:ring:sbInternal,sbExtTriggered,sbExtGated) | :AnlgGen:Ch(ch):SyncBurstSine(i):Mode Value
|  |  | "" | in:Burst Period:double | :AnlgGen:Ch(ch):SyncBurstSine(i):Period Value
|  |  | "" | in:High Amplitude Time:double | :AnlgGen:Ch(ch):SyncBurstSine(i):TimeOn Value
|  |  | "" | in:Enable EQ Output Modification:bool:Enabled Disabled | :AnlgGen:Ch(ch):SyncBurstSine(i):Eq Value
|  |  | "" | in:Enable Waveform:bool:Enabled Disabled | :AnlgGen:Ch(ch):SyncBurstSine(i):On Value
|  |  | Configure Analog Gen Noise | in:Channel:int
|  |  | "" | in:Noise Amplitude:double | :AnlgGen:Ch(ch):Noise(i):Amp Value
|  |  | "" | in:Enable Pinking Filter:bool:Enabled Disabled | :AnlgGen:Ch(ch):Noise(i):Pink Value
|  |  | "" | in:Enable Repeat Period:bool:Enabled Disabled | :AnlgGen:Ch(ch):Noise(i):RepeatPeriod Value
|  |  | "" | in:Repeat Period:double | :AnlgGen:Ch(ch):Noise(i):RepeatTime Value
|  |  | "" | in:Filter Type:ring:nsNoFilter,nsLoPass,nsHiPass,nsBandPassOct3) | :AnlgGen:Ch(ch):Noise(i):Filter Value
|  |  | "" | in:Filter Frequency:double | :AnlgGen:Ch(ch):Noise(i):FilterFreq Value
|  |  | "" | in:Enable Waveform:bool:Enabled Disabled | :AnlgGen:Ch(ch):Noise(i):On Value
|  |  | Configure Analog Gen USASI | in:Channel:ring:l
|  |  | "" | in:Amplitude:double | :AnlgGen:Ch(ch):USASI(i):Amp Value
|  |  | "" | in:Enable Waveform:bool:Enabled Disabled | :AnlgGen:Ch(ch):USASI(i):On Value
|  |  | Configure Analog Gen MLS | in:Channel:ring:A,B)
|  |  | "" | in:Sine Amplitude:double | :AnlgGen:Ch(ch):MLS(i):Amp Value
|  |  | "" | in:Sequence Length:int | :AnlgGen:Ch(ch):Noise(i):Length Value
|  |  | "" | in:Enable Pinking Filter:bool:Enabled Disabled | :AnlgGen:Ch(ch):Noise(i):Pink Value
|  |  | "" | in:Enable Waveform:bool:Enabled Disabled | :AnlgGen:Ch(ch):MLS(i):On Value
|  |  | Configure Analog Gen Ramp | in:Channel:int
|  |  | "" | in:Frequency:double | :AnlgGen:Ch(ch):Ramp(i):Freq Value
|  |  | "" | in:High Amplitude:double | :AnlgGen:Ch(ch):Ramp(i):HiAmp Value
|  |  | "" | in:Low Amplitude:double | :AnlgGen:Ch(ch):Ramp(i):LoAmp Value
|  |  | "" | in:Rise Fraction:double | :AnlgGen:Ch(ch):Ramp(i):RiseFraction Value
|  |  | "" | in:Enable Waveform:bool:Enabled Disabled | :AnlgGen:Ch(ch):Ramp(i):On Value
|  |  | Configure Analog Gen Square Wave | in:Channel:int
|  |  | "" | in:Amplitude:double | :AnlgGen:Ch(ch):Square(i):Amp Value
|  |  | "" | in:Frequency:double | :AnlgGen:Ch(ch):Square(i):Freq Value
|  |  | "" | in:Enable Waveform:bool:Enabled Disabled | :AnlgGen:Ch(ch):Square(i):On Value
|  |  | Configure Analog Gen IMDSig | in:Channel:int
|  |  | "" | in:Amplitude:double | :AnlgGen:Ch(ch):IMDSig(i):Amp Value
|  |  | "" | in:Main Frequency:double | :AnlgGen:Ch(ch):IMDSig(i):MainFreq Value
|  |  | "" | in:IM Frequency:double | :AnlgGen:Ch(ch):IMDSig(i):IMFreq Value
|  |  | "" | in:Amplitude Ratio:ring:ar41,ar11) | :AnlgGen:Ch(ch):IMDSig(i):AmpRatio Value
|  |  | "" | in:Generated Waveform Type:ring:imdSMPTE,imdCCIF,imdDIMB,imdDIM30,imdDIM100) | :AnlgGen:Ch(ch):IMDSig(i):Type Value
|  |  | "" | in:Enable Waveform:bool:Enabled Disabled | :AnlgGen:Ch(ch):IMDSig(i):On Value
|  |  | Configure Analog Gen Arbitrary Waveform | in:Channel:int
|  |  | "" | in:Amplitude:double | :AnlgGen:Ch(ch):Arb(i):Amp Value
|  |  | "" | in:Output Rate:double | :AnlgGen:Ch(ch):Arb(i):RateMultiplier Value
|  |  | "" | in:Load File:string | :AnlgGen:Ch(ch):Arb(i):Load FileName, ColSelect
|  |  | "" | in:Column Select:int | ""
|  |  | "" | in:Enable Waveform:bool:Enabled Disabled | :AnlgGen:Ch(ch):Arb(i):On Value
|  |  | Configure Analog Gen Chirp | in:Channel:int
|  |  | "" | in:Amplitude:double | :AnlgGen:Ch(ch):Chirp(i):Amp Value
|  |  | "" | in:FFT Source:ring:csA0FFT,csA0FFT2Ch,csA1FFT,csA1FFT2Ch) | :AnlgGen:Ch(ch):Chirp(i):FFTLink Value
|  |  | "" | in:Enable EQ Output Modification:bool:Enabled Disabled | :AnlgGen:Ch(ch):Chirp(i):Eq Value
|  |  | "" | in:Enable Variable Sweep:bool:Enabled Disabled | :AnlgGen:Ch(ch):Chirp(i):VarSweep Value
|  |  | "" | in:Enable Waveform:bool:Enabled Disabled | :AnlgGen:Ch(ch):Chirp(i):On Value
|  |  | Configure Analog Gen Log Sine | in:Channel:int
|  |  | "" | in:Amplitude:double | :AnlgGen:Ch(ch):LogSine(i):Amp Value
|  |  | "" | in:FFT Source:ring:csA0FFT,csA0FFT2Ch,csA1FFT,csA1FFT2Ch) | :AnlgGen:Ch(ch):LogSine(i):FFTLink Value
|  |  | "" | in:Enable Waveform:bool:Enabled Disabled | :AnlgGen:Ch(ch):LogSine(i):On Value
|  |  | Configure Multitone Generator | in:Channel:int
|  |  | "" | in:Amplitude:double | :AnlgGen:Ch(ch):MultiTone(i):Amp Value
|  |  | "" | in:Enable EQ Output Modification:bool:Enabled Disabled | :AnlgGen:Ch(ch):MultiTone(i):Eq Value
|  |  | "" | in:Enable Waveform:bool:Enabled Disabled | :AnlgGen:Ch(ch):MultiTone(i):On Value
|  |  | Configure Multitone Export File | in:File Name:string | :AnlgGen:Ch(ch):MultiTone(i):ExportMultiTone FileName, Mode, NumBits, Dither
|  |  | "" | in:Mode:ring:mtArbFile,mtWavFile) | ""
|  |  | "" | in:Number Of Bits:int | ""
|  |  | "" | in:Dither:ring:dgNoDither,dgTriangular,dgRectangular) | ""
|  |  | Configure Analog Gen Polarity | in:Channel:int
|  |  | "" | in:Amplitude:double | :AnlgGen:Ch(ch):Polarity(i):Amp Value
|  |  | "" | in:Frequency:double | :AnlgGen:Ch(ch):Polarity(i):Freq Value
|  |  | "" | in:Enable Waveform:bool:Enabled Disabled | :AnlgGen:Ch(ch):Polarity(i):On Value
|  |  | Configure DC | in:Channel:int
|  |  | "" | in:Amplitude:double | :AnlgGen:Ch(ch):DC(i):Amp Value
|  |  | "" | in:Enable Waveform:bool:Enabled Disabled | :AnlgGen:Ch(ch):DC(i):On Value
}
| {Digital Generator | # Another mono/stero | Configure Basic Digital Generator | in:Channel:int
|  |  | "" | in:Output Mode:ring:Stereo¦Mono | :DigGen:Mono Value
|  |  | "" | in:Dither:ring:dgNoDither,dgTriangular,dgRectangular) | :DigGen:Dither Value
|  |  | "" | in:Enable AB Lock:bool:Enabled Disabled | :DigGen:ABLock Value
|  |  | "" | in:Auto On:bool:Enabled Disabled | :DigGen:AutoOnOff Value
|  |  | "" | in:Gain:double | :DigGen:Ch(ch):Gain Value
|  |  | "" | in:Enable Waveform:bool:Enabled Disabled | :DigGen:Ch(ch):On Value
|  |  | "" | in:Invert:bool:Enabled Disabled | :DigGen:Ch(ch):Invert Value
|  |  | Configure Digital Burst | in:Duty Cycle:double | :DigGen:BurstDutyCycle Value
|  |  | "" | in:Low Amplitude:double | :DigGen:BurstLoAmp Value
|  |  | "" | in:Burst Mode:ring:bmNone,bmTimed) | :DigGen:BurstMode Value
|  |  | "" | in:Burst Period:double | :DigGen:BurstPeriod Value
|  |  | Configure Digital Gen References | in:Decibel Relative Reference:double | :DigGen:dBrRef Value
|  |  | "" | in:Frequency Reference:double | :DigGen:FreqRef Value
|  |  | "" | in:Volts Full Scale Reference:double | :DigGen:VfsRef Value
|  |  | Configure Digital Gen EQ File | in:File Name:string | :DigGen:SetEqFile FileName
|  |  | "" | in:Invert EQ:bool:Enabled Disabled | :DigGen:InvertEq Value
|  |  | Configure Digital Gen Sine | in:Channel:ring:chA,chB)
|  | # Revise Logic | "" | in:Type:ring:Sine,PhasedSine)
|  |  | "" | in:Amplitude :double | :DigGen:Ch(ch):Sine(i):Amp Value
|  |  | "" | in:Frequency:double | :DigGen:Ch(ch):Sine(i):Freq Value
|  |  | "" | in:Enable EQ Output Modification:bool:Enabled Disabled | :DigGen:Ch(ch):Sine(i):Eq Value
|  |  | "" | in:Enable Waveform:bool:Enabled Disabled | :DigGen:Ch(ch):Sine(i):On Value
|  |  | "" | in:Phase Difference:double | :DigGen:Ch(ch):PhasedSine(i):Phase Value
|  |  | Configure Digital Gen Noise | in:Channel:ring:chA,chB)
|  |  | "" | in:Peak Amplitude :double | :DigGen:Ch(ch):Noise(i):Amp Value
|  |  | "" | in:Enable Pinking Filter:bool:Enabled Disabled | :DigGen:Ch(ch):Noise(i):Pink Value
|  |  | "" | in:Enable Repeat Period:bool:Enabled Disabled | :DigGen:Ch(ch):Noise(i):RepeatPeriod Value
|  |  | "" | in:Repeat Period:double | :DigGen:Ch(ch):Noise(i):RepeatTime Value
|  |  | "" | in:Filter:ring:nsNoFilter,nsLoPass,nsHiPass,nsBandPassOct3) | :DigGen:Ch(ch):Noise(i):Filter Value
|  |  | "" | in:Filter Frequency:double | :DigGen:Ch(ch):Noise(i):FilterFreq Value
|  |  | "" | in:Enable Waveform:bool:Enabled Disabled | :DigGen:Ch(ch):Noise(i):On Value
|  |  | Configure Digital Gen USASI | in:Channel:ring:chA,chB)
|  |  | "" | in:Amplitude :double | :DigGen:Ch(ch):USASI(i):Amp Value
|  |  | "" | in:Enable Waveform:bool:Enabled Disabled | :DigGen:Ch(ch):USASI(i):On Value
|  |  | Configure Digital Gen MLS | in:Channel:ring:chA,chB)
|  |  | "" | in:Amplitude :double | :DigGen:Ch(ch):MLS(i):Amp Value
|  |  | "" | in:Sequence Length:int | :DigGen:Ch(ch):Noise(i):Length Value | MIS-DOCUMENTED COMMAND
|  |  | "" | in:Enable Pinking Filter:bool:Enabled Disabled | :DigGen:Ch(ch):MLS(i):Pink Value
|  |  | "" | in:Enable Waveform:bool:Enabled Disabled | :DigGen:Ch(ch):MLS(i):On Value
|  |  | Configure Digital Gen Ramp | in:Channel:ring:chA,chB)
|  |  | "" | in:Frequency:double | :DigGen:Ch(ch):Ramp(i):Freq Value
|  |  | "" | in:High Amplitude:double | :DigGen:Ch(ch):Ramp(i):HiAmp Value
|  |  | "" | in:Low Amplitude:double | :DigGen:Ch(ch):Ramp(i):LoAmp Value
|  |  | "" | in:Rise Fraction:double | :DigGen:Ch(ch):Ramp(i):RiseFraction Value
|  |  | "" | in:Enable Waveform:bool:Enabled Disabled | :DigGen:Ch(ch):Ramp(i):On Value
|  |  | Configure Digital Gen Chirp | in:Channel:ring:chA,chB)
|  |  | "" | in:Amplitude :double | :DigGen:Ch(ch):Chirp(i):Amp Value
|  |  | "" | in:FFT Source:ring:csA0FFT,csA0FFT2Ch,csA1FFT,csA1FFT2Ch) | :DigGen:Ch(ch):Chirp(i):FFTLink Value
|  |  | "" | in:Enable EQ Output Modification:bool:Enabled Disabled | :DigGen:Ch(ch):Chirp(i):Eq Value
|  |  | "" | in:Enable Variable Sweep:bool:Enabled Disabled | :DigGen:Ch(ch):Chirp(i):VarSweep Value
|  |  | "" | in:Enable Waveform:bool:Enabled Disabled | :DigGen:Ch(ch):Chirp(i):On Value
|  |  | Configure Digital Gen Log Sine | in:Channel:ring:chA,chB)
|  |  | "" | in:Amplitude :double | :DigGen:Ch(ch):LogSine(i):Amp Value
|  |  | "" | in:FFT Source:ring:csA0FFT,csA0FFT2Ch,csA1FFT,csA1FFT2Ch) | :DigGen:Ch(ch):LogSine(i):FFTLink Value
|  |  | "" | in:Enable Waveform:bool:Enabled Disabled | :DigGen:Ch(ch):LogSine(i):On Value
|  |  | Configure Digital Gen Arbitrary Waveform | in:Channel:ring:chA,chB)
|  |  | "" | in:Amplitude :double | :DigGen:Ch(ch):Arb(i):Amp Value
|  |  | "" | in:Enable Over Sampling:bool:Enabled Disabled | :DigGen:Ch(ch):Arb(i):Oversample Value
|  |  | "" | in:Output Rate:double | :DigGen:Ch(ch):Arb(i):RateMultiplier Value
|  |  | "" | in:Load File:string | :DigGen:Ch(ch):Arb(i):Load FileName, ColSelect
|  |  | "" | in:Column Select:int | ""
|  |  | "" | in:Enable Waveform:bool:Enabled Disabled | :DigGen:Ch(ch):Arb(i):On Value
|  |  | Configure Digital Gen Square Wave | in:Channel:ring:chA,chB)
|  |  | "" | in:Amplitude:double | :DigGen:Ch(ch):Square(i):Amp Value
|  |  | "" | in:Frequency:double | :DigGen:Ch(ch):Square(i):Freq Value
|  |  | "" | in:Enable Precision Squares:bool:Enabled Disabled | :DigGen:Ch(ch):Square(i):PrecisionSquare Value
|  |  | "" | in:Enable Waveform:bool:Enabled Disabled | :DigGen:Ch(ch):Square(i):On Value
|  |  | Configure Digital Gen IMDSig | in:Channel:ring:chA,chB)
|  |  | "" | in:Amplitude:double | :DigGen:Ch(ch):IMDSig(i):Amp Value
|  |  | "" | in:Amplitude Ratio:ring:ar41,ar11) | :DigGen:Ch(ch):IMDSig(i):AmpRatio Value
|  |  | "" | in:IM Frequency:double | :DigGen:Ch(ch):IMDSig(i):IMFreq Value
|  |  | "" | in:Main Frequency:double | :DigGen:Ch(ch):IMDSig(i):MainFreq Value
|  |  | "" | in:Waveform Type:ring:imdSMPTE,imdCCIF,imdDIMB,imdDIM30,imdDIM100) | :DigGen:Ch(ch):IMDSig(i):Type Value
|  |  | "" | in:Enable Waveform:bool:Enabled Disabled | :DigGen:Ch(ch):IMDSig(i):On Value
|  | # Not implemented on SR1 | Configure Digital Gen Multitone | in:Channel:ring:chA,chB)
|  |  | "" | in:Amplitude:double | :DigGen:Ch(ch):MultiTone(i):Amp Value
|  |  | "" | in:Enable EQ Output Modification:bool:Enabled Disabled | :DigGen:Ch(ch):MultiTone(i):Eq Value
|  |  | "" | in:Enable Waveform:bool:Enabled Disabled | :DigGen:Ch(ch):MultiTone(i):On Value
|  | # Not implemented on SR1 | Configure Multitone Export | in:Channel:ring:chA,chB)
|  |  | "" | in:File Name:string | :DigGen:Ch(ch):MultiTone(i):ExportMultiTone FileName, Mode, NumBits, Dither
|  |  | "" | in:Mode:ring:mtArbFile,mtWavFile) | ""
|  |  | "" | in:Number Of Bits:int | ""
|  |  | "" | in:Dither:ring:dgNoDither,dgTriangular,dgRectangular) | ""
|  |  | Configure Digital Gen Polarity | in:Channel:ring:chA,chB)
|  |  | "" | in:Amplitude:double | :DigGen:Ch(ch):Polarity(i):Amp Value
|  |  | "" | in:Frequency:double | :DigGen:Ch(ch):Polarity(i):Freq Value
|  |  | "" | in:Enable Waveform:bool:Enabled Disabled | :DigGen:Ch(ch):Polarity(i):On Value
|  |  | Configure Count | in:Channel:ring:chA,chB)
|  |  | "" | in:Digital Counter Initial Value:double | :DigGen:Ch(ch):Count(i):Amp Value
|  |  | "" | in:Digital Counter Final Value:double | :DigGen:Ch(ch):Count(i):Amp2 Value
|  |  | "" | in:Initial Value Polarity:ring:Positive,Negative) | :DigGen:Ch(ch):Count(i):Polarity1 Value
|  |  | "" | in:Enable Negative Final Value:ring:Positive,Negative) | :DigGen:Ch(ch):Count(i):Polarity2 Value
|  |  | "" | in:Dwell:int | :DigGen:Ch(ch):Count(i):Dwell Value
|  |  | "" | in:Enable Waveform:bool:Enabled Disabled | :DigGen:Ch(ch):Count(i):On Value
|  |  | Configure Constant | in:Channel:ring:chA,chB)
|  |  | "" | in:Amplitude:double | :DigGen:Ch(ch):Constant(i):Amp Value
|  |  | "" | in:Amplitude Polarity:ring:Positive,Negative) | :DigGen:Ch(ch):Constant(i):Polarity Value
|  |  | "" | in:Enable Waveform:bool:Enabled Disabled | :DigGen:Ch(ch):Constant(i):On Value
|  |  | Configure Rotate Bits | in:Channel:ring:chA,chB)
|  |  | "" | in:Dwell:int | :DigGen:Ch(ch):Rotate(i):Dwell Value
|  |  | "" | in:Walk Value:int | :DigGen:Ch(ch):Rotate(i):WalkVal Value
|  |  | "" | in:Enable Waveform:bool:Enabled Disabled | :DigGen:Ch(ch):Rotate(i):On Value
|  |  | Configure J-Test | in:Channel:ring:chA,chB)
|  |  | "" | in:Enable J-Test:bool:Enabled Disabled | :DigGen:Ch(ch):JTest(i):On Value
|  |  | Configure Stair | in:Channel:ring:chA,chB)
|  |  | "" | in:Dwell:int | :DigGen:Ch(ch):Stair(i):Dwell Value
|  |  | "" | in:Enable Waveform:bool:Enabled Disabled | :DigGen:Ch(ch):Stair(i):On Value
}
| {Quick Measurements | # Revise Logic | Configure Measurements | in:Measurements:bool:Enabled Disabled | # Boolean Array
|  |  | Configure Outputs | in:Domain:ring:odAnalog,odDigital,odExternal) | :QuickMeas:OutDomain Value
|  |  | "" | in:Channels:int | :QuickMeas:OutChannels Value
|  |  | "" | in:Connector Type:ring:cXLR,cBNC,cOptical) | :QuickMeas:OutConnector Value
|  |  | "" | in:Analog Bandwidth:ring:bw200kHz,bw50kHz,bw25kHz) | :QuickMeas:OutAnlgBW Value
|  |  | "" | in:Enable Digital Dual Connector:bool:Enabled Disabled | :QuickMeas:OutDigDualConn Value
|  |  | "" | in:Sample Rate:double | :QuickMeas:OutDigFs Value
|  |  | Configure Inputs | in:Domain:ring:idAnalog,idDigital,idGenMon) | :QuickMeas:InDomain Value
|  |  | "" | in:Channels:int | :QuickMeas:InChannels Value
|  |  | "" | in:Connector Type:ring:cXLR,cBNC,cOptical) | :QuickMeas:InConnector Value
|  |  | "" | in:Coupling:ring:cplAC,cplDC) | :QuickMeas:InCoupling Value
|  |  | "" | in:Analog Bandwidth:ring:bw200kHz,bw50kHz,bw25kHz) | :QuickMeas:InAnlgBW Value
|  |  | "" | in:Auto Range:bool:Enabled Disabled | :QuickMeas:InAutoscale Value
|  |  | "" | in:Enable Digital Dual Connector:bool:Enabled Disabled | :QuickMeas:InDigDualConn Value
|  |  | "" | in:Enable Termination:bool:Enabled Disabled | :QuickMeas:InTermination Value
|  |  | Configure Reference Measurement | in:Waveform:ring:wsSine,wsLDSine) | :QuickMeas:Reference:Waveform Value
|  |  | "" | in:Start Frequency:double | :QuickMeas:Reference:FreqStart Value
|  |  | "" | in:Trigger Frequency:double | :QuickMeas:Reference:LevelStart Value
|  |  | "" | in:Highpass Filter:ring:hpDC,hpHz22,hpHz100,hpHz400,hpSharp400) | :QuickMeas:Reference:HighpassFilt Value
|  |  | "" | in:Lowpass Filter:ring:lpFsdiv2,lpHzAES20k,lpHzAES40k,lpHzAES80k) | :QuickMeas:Reference:LowpassFilt Value
|  | {Level | Configure Basic Level Measurement | in:Waveform:ring:wsSine¦wsLDSine | :QuickMeas:Level:Waveform Value
|  |  | "" | in:Selection Type:ring:mLevel,mRatio) | :QuickMeas:Level:Meas Value
|  |  | "" | in:Append Traces:bool:Enabled Disabled | :QuickMeas:Level:AppendTraces Value
|  |  | Configure Level Frequency Sweep | in:Start Frequency:double | :QuickMeas:Level:FreqStart Value
|  |  | "" | in:Number Of Steps:int | :QuickMeas:Level:FreqSteps Value
|  |  | "" | in:Stop Frequency:double | :QuickMeas:Level:FreqStop Value
|  |  | "" | in:Enable Log:bool:Enabled Disabled | :QuickMeas:Level:FreqLog Value
|  |  | Configure Level Amplitude Sweep | in:Start Amplitude:double | :QuickMeas:Level:LevelStart Value
|  |  | "" | in:Number Of Steps:int | :QuickMeas:Level:LevelSteps Value
|  |  | "" | in:Stop Amplitude:double | :QuickMeas:Level:LevelStop Value
|  |  | "" | in:Enable Log:bool:Enabled Disabled | :QuickMeas:Level:LevelLog Value
|  |  | Configure Level Filter | in:Highpass Filter:ring:hpDC,hpHz22,hpHz100,hpHz400,hpSharp400) | :QuickMeas:Level:HighpassFilt Value
|  |  | "" | in:Lowpass Filter:ring:lpFsdiv2,lpHzAES20k,lpHzAES40k,lpHzAES80k) | :QuickMeas:Level:LowpassFilt Value
|  |  | Configure Level Settling | in:Delay:double | :QuickMeas:Level:SettleDelay Value
|  |  | "" | in:Settle Floor:double | :QuickMeas:Level:SettleFloor Value
|  |  | "" | in:Settling Algorithm:ring:stlNone,stlExponential,stlFlat,stlAverage,stlSequential) | :QuickMeas:Level:SettleMethod Value
|  |  | "" | in:Settling Criteria:int | :QuickMeas:Level:SettleN Value
|  |  | "" | in:Tolerance:double | :QuickMeas:Level:SettleTolerance Value
}
|  | {Signal To Noise | Configure Basic SNR | in:Waveform:ring:wsSine¦wsLDSine | :QuickMeas:SNR:Waveform Value
|  |  | "" | in:Append Traces:bool:Enabled Disabled | :QuickMeas:SNR:AppendTraces Value
|  |  | Configure SNR Frequency Sweep | in:Start Frequency:double | :QuickMeas:SNR:FreqStart Value
|  |  | "" | in:Number Of Steps:int | :QuickMeas:SNR:FreqSteps Value
|  |  | "" | in:Stop Frequency:double | :QuickMeas:SNR:FreqStop Value
|  |  | "" | in:Enable Log:bool:Enabled Disabled | :QuickMeas:SNR:FreqLog Value
|  |  | Configure SNR Amplitude Sweep | in:Start Amplitude:double | :QuickMeas:SNR:LevelStart Value
|  |  | "" | in:Number Of Steps:int | :QuickMeas:SNR:LevelSteps Value
|  |  | "" | in:Stop Amplitude:double | :QuickMeas:SNR:LevelStop Value
|  |  | "" | in:Enable Log:int | :QuickMeas:SNR:LevelLog Value
|  |  | Configure SNR Filter | in:Weighting Filter:ring:adNoWt,adAWt,adCMsg,adCCITT,adCCIRwtd,adCCIRunwtd,adCCIR2kHz) | :QuickMeas:SNR:WeightingFilt Value
|  |  | Configure SNR Settling | in:Delay:double | :QuickMeas:SNR:SettleDelay Value
|  |  | "" | in:Settle Floor:double | :QuickMeas:SNR:SettleFloor Value
|  |  | "" | in:Settling Algorithm:ring:stlNone,stlExponential,stlFlat,stlAverage,stlSequential) | :QuickMeas:SNR:SettleMethod Value
|  |  | "" | in:Settling Criteria:int | :QuickMeas:SNR:SettleN Value
|  |  | "" | in:Tolerance:double | :QuickMeas:SNR:SettleTolerance Value
}
|  | {THDN | Configure Basic THDN | in:Waveform:ring:wsSine¦wsLDSine | :QuickMeas:THDN:Waveform Value
|  |  | "" | in:Selection Type:ring:mLevel,mRatio) | :QuickMeas:THDN:Meas Value
|  |  | "" | in:Append Traces:bool:Enabled Disabled | :QuickMeas:THDN:AppendTraces Value
|  |  | Configure THDN Frequency Sweep | in:Start Frequency:double | :QuickMeas:THDN:FreqStart Value
|  |  | "" | in:Number Of Steps:int | :QuickMeas:THDN:FreqSteps Value
|  |  | "" | in:Stop Frequency:double | :QuickMeas:THDN:FreqStop Value
|  |  | "" | in:Enable Log:int | :QuickMeas:THDN:FreqLog Value
|  |  | Configure THDN Amplitude Sweep | in:Start Amplitude:double | :QuickMeas:THDN:LevelStart Value
|  |  | "" | in:Number Of Steps:int | :QuickMeas:THDN:LevelSteps Value
|  |  | "" | in:Stop Amplitude:double | :QuickMeas:THDN:LevelStop Value
|  |  | "" | in:Enable Log:int | :QuickMeas:THDN:LevelLog Value
|  |  | ConfigureTHDN Filter | in:Highpass Filter:ring:hpDC,hpHz22,hpHz100,hpHz400,hpSharp400) | :QuickMeas:THDN:HighpassFilt Value
|  |  | "" | in:Lowpass Filter:ring:lpFsdiv2,lpHzAES20k,lpHzAES40k,lpHzAES80k) | :QuickMeas:THDN:LowpassFilt Value
|  |  | Configure THDN Settling | in:Delay:double | :QuickMeas:THDN:SettleDelay Value
|  |  | "" | in:Settle Floor:double | :QuickMeas:THDN:SettleFloor Value
|  |  | "" | in:Settling Algorithm:ring:stlNone,stlExponential,stlFlat,stlAverage,stlSequential) | :QuickMeas:THDN:SettleMethod Value
|  |  | "" | in:Settling Criteria:int | :QuickMeas:THDN:SettleN Value
|  |  | "" | in:Tolerance:double | :QuickMeas:THDN:SettleTolerance Value
}
|  | {Distortion | Configure Basic Distortion | in:Waveform:ring:wsSine¦wsLDSine | :QuickMeas:Distortion:Waveform Value
|  |  | "" | in:Analysis Method:ring:daTHD,daHarmonics,daFFTofHarmonics) | :QuickMeas:Distortion:Analysis Value
|  |  | "" | in:Selection Type:ring:mLevel,mRatio) | :QuickMeas:Distortion:Meas Value
|  |  | "" | in:FFT Lines:ring:fftl32k,fftl16k,fftl8k,fftl4k,fftl2k,fftl1k,fftl512,fftl256) | :QuickMeas:Distortion:FFTLines Value
|  |  | "" | in:Append Traces:bool:Enabled Disabled | :QuickMeas:Distortion:AppendTraces Value
|  |  | Configure Distortion Frequency Sweep | in:Start Frequency:double | :QuickMeas:Distortion:FreqStart Value
|  |  | "" | in:Number Of Steps:int | :QuickMeas:Distortion:FreqSteps Value
|  |  | "" | in:Stop Frequency:double | :QuickMeas:Distortion:FreqStop Value
|  |  | "" | in:Enable Log:int | :QuickMeas:Distortion:FreqLog Value
|  |  | Configure Distortion Amplitude Sweep | in:Start Amplitude:double | :QuickMeas:Distortion:LevelStart Value
|  |  | "" | in:Number Of Steps:int | :QuickMeas:Distortion:LevelSteps Value
|  |  | "" | in:Stop Amplitude:double | :QuickMeas:Distortion:LevelStop Value
|  |  | "" | in:Enable Log:int | :QuickMeas:Distortion:LevelLog Value
|  |  | Configure Distortion Settling | in:Delay:double | :QuickMeas:Distortion:SettleDelay Value
|  |  | "" | in:Settle Floor:double | :QuickMeas:Distortion:SettleFloor Value
|  |  | "" | in:Settling Algorithm:ring:stlNone,stlExponential,stlFlat,stlAverage,stlSequential) | :QuickMeas:Distortion:SettleMethod Value
|  |  | "" | in:Settling Criteria:int | :QuickMeas:Distortion:SettleN Value
|  |  | "" | in:Tolerance:double | :QuickMeas:Distortion:SettleTolerance Value
}
|  | {IMDistortion | Configure Basic IMDistortion | in:Waveform:ring:wiSMPTE¦wiCCIF¦wiDIM | :QuickMeas:IMDistortion:Waveform Value
|  |  | "" | in:Product Selection:ring:imdSMPTE2,imdSMPTE23,imdSMPTE234) | :QuickMeas:IMDistortion:Product Value
|  |  | "" | in:Append Traces:bool:Enabled Disabled | :QuickMeas:IMDistortion:AppendTraces Value
|  |  | Configure IMDistortion Frequency Sweep | in:Start Frequency:double | :QuickMeas:IMDistortion:FreqStart Value
|  |  | Configure IMDistortion Amplitude Sweep | in:Start Amplitude:double | :QuickMeas:IMDistortion:LevelStart Value
|  |  | "" | in:Number Of Steps:int | :QuickMeas:IMDistortion:LevelSteps Value
|  |  | "" | in:Stop Amplitude:double | :QuickMeas:IMDistortion:LevelStop Value
|  |  | "" | in:Enable Log:int | :QuickMeas:IMDistortion:LevelLog Value
|  |  | Configure IMDistortion Settling | in:Delay:double | :QuickMeas:IMDistortion:SettleDelay Value
|  |  | "" | in:Settle Floor:double | :QuickMeas:IMDistortion:SettleFloor Value
|  |  | "" | in:Settling Algorithm:ring:stlNone,stlExponential,stlFlat,stlAverage,stlSequential) | :QuickMeas:IMDistortion:SettleMethod Value
|  |  | "" | in:Settling Criteria:int | :QuickMeas:IMDistortion:SettleN Value
|  |  | "" | in:Tolerance:double | :QuickMeas:IMDistortion:SettleTolerance Value
}
|  | {Crosstalk | Configure Basic Crosstalk | in:Waveform:ring:wsSine¦wsLDSine | :QuickMeas:Crosstalk:Waveform Value
|  |  | "" | in:Selection Type:ring:mLevel,mRatio) | :QuickMeas:Crosstalk:Meas Value
|  |  | "" | in:Append Traces:bool:Enabled Disabled | :QuickMeas:Crosstalk:AppendTraces Value
|  |  | Configure Crosstalk Frequency Sweep | in:Start Frequency:double | :QuickMeas:Crosstalk:FreqStart Value
|  |  | "" | in:Number Of Steps:int | :QuickMeas:Crosstalk:FreqSteps Value
|  |  | "" | in:Stop Frequency:double | :QuickMeas:Crosstalk:FreqStop Value
|  |  | "" | in:Enable Log:int | :QuickMeas:Crosstalk:FreqLog Value
|  |  | Configure Crosstalk Amplitude Sweep | in:Start Amplitude:double | :QuickMeas:Crosstalk:LevelStart Value
|  |  | "" | in:Number Of Steps:int | :QuickMeas:Crosstalk:LevelSteps Value
|  |  | "" | in:Stop Amplitude:double | :QuickMeas:Crosstalk:LevelStop Value
|  |  | "" | in:Enable Log:int | :QuickMeas:Crosstalk:LevelLog Value
|  |  | Configure Crosstalk Filter | in:Highpass Filter:ring:hpDC,hpHz22,hpHz100,hpHz400,hpSharp400) | :QuickMeas:Crosstalk:HighpassFilt Value
|  |  | "" | in:Lowpass Filter:ring:lpFsdiv2,lpHzAES20k,lpHzAES40k,lpHzAES80k) | :QuickMeas:Crosstalk:LowpassFilt Value
|  |  | Configure Crosstalk Settling | in:Delay:double | :QuickMeas:Crosstalk:SettleDelay Value
|  |  | "" | in:Settle Floor:double | :QuickMeas:Crosstalk:SettleFloor Value
|  |  | "" | in:Settling Algorithm:ring:stlNone,stlExponential,stlFlat,stlAverage,stlSequential) | :QuickMeas:Crosstalk:SettleMethod Value
|  |  | "" | in:Settling Criteria:int | :QuickMeas:Crosstalk:SettleN Value
|  |  | "" | in:Tolerance:double | :QuickMeas:Crosstalk:SettleTolerance Value
}
|  | {Frequency Response | Configure Basic Frequency Response | in:Waveform:ring:wcChirp | :QuickMeas:FreqResp:Waveform Value
|  |  | "" | in:Selection Type:ring:mLevel,mRatio) | :QuickMeas:FreqResp:Meas Value
|  |  | "" | in:FFT Lines:ring:fftl32k,fftl16k,fftl8k,fftl4k,fftl2k,fftl1k,fftl512,fftl256) | :QuickMeas:FreqResp:FFTLines Value
|  |  | "" | in:Append Traces:bool:Enabled Disabled | :QuickMeas:FreqResp:AppendTraces Value
|  |  | Configure Frequency Response Amplitude Sweep | in:Start Amplitude:double | :QuickMeas:FreqResp:LevelStart Value
|  |  | "" | in:Number Of Steps:int | :QuickMeas:FreqResp:LevelSteps Value
|  |  | "" | in:Stop Amplitude:double | :QuickMeas:FreqResp:LevelStop Value
|  |  | "" | in:Enable Log:int | :QuickMeas:FreqResp:LevelLog Value
|  |  | Configure Frequency Response Settling | in:Delay:double | :QuickMeas:FreqResp:SettleDelay Value
|  |  | "" | in:Settle Floor:double | :QuickMeas:FreqResp:SettleFloor Value
|  |  | "" | in:Settling Algorithm:ring:stlNone,stlExponential,stlFlat,stlAverage,stlSequential) | :QuickMeas:FreqResp:SettleMethod Value
|  |  | "" | in:Settling Criteria:int | :QuickMeas:FreqResp:SettleN Value
|  |  | "" | in:Tolerance:double | :QuickMeas:FreqResp:SettleTolerance Value
}
|  | {Input Output Phase | Configure Basic Input Output Phase | in:Waveform:ring:wcChirp | :QuickMeas:InOutPhase:Waveform Value
|  |  | "" | in:Selection Type:ring:mPhase,mPhaseGroupDelay) | :QuickMeas:InOutPhase:Meas Value
|  |  | "" | in:FFT Lines:ring:fftl32k,fftl16k,fftl8k,fftl4k,fftl2k,fftl1k,fftl512,fftl256) | :QuickMeas:InOutPhase:FFTLines Value
|  |  | "" | in:Append Traces:bool:Enabled Disabled | :QuickMeas:InOutPhase:AppendTraces Value
|  |  | Configure Input Output Amplitude Sweep | in:Start Amplitude:double | :QuickMeas:InOutPhase:LevelStart Value
|  |  | "" | in:Number Of Steps:int | :QuickMeas:InOutPhase:LevelSteps Value
|  |  | "" | in:Stop Amplitude:double | :QuickMeas:InOutPhase:LevelStop Value
|  |  | "" | in:Enable Log:int | :QuickMeas:InOutPhase:LevelLog Value
|  |  | Configure Input Output Settling | in:Delay:double | :QuickMeas:InOutPhase:SettleDelay Value
|  |  | "" | in:Settle Floor:double | :QuickMeas:InOutPhase:SettleFloor Value
|  |  | "" | in:Settling Algorithm:ring:stlNone,stlExponential,stlFlat,stlAverage,stlSequential) | :QuickMeas:InOutPhase:SettleMethod Value
|  |  | "" | in:Settling Criteria:int | :QuickMeas:InOutPhase:SettleN Value
|  |  | "" | in:Tolerance:double | :QuickMeas:InOutPhase:SettleTolerance Value
}
|  | {Interchannel Phase | Configure Basic Interchannel Phase | in:Waveform:ring:wcChirp | :QuickMeas:InterchPhase:Waveform Value
|  |  | "" | in:FFT Lines:ring:fftl32k,fftl16k,fftl8k,fftl4k,fftl2k,fftl1k,fftl512,fftl256) | :QuickMeas:InterchPhase:FFTLines Value
|  |  | "" | in:Append Traces:bool:Enabled Disabled | :QuickMeas:InterchPhase:AppendTraces Value
|  |  | Configure Interchannel Phase Frequency Sweep | in:Start Frequency:double | :QuickMeas:InterchPhase:FreqStart Value
|  |  | "" | in:Number Of Steps:int | :QuickMeas:InterchPhase:FreqSteps Value
|  |  | "" | in:Stop Frequency:double | :QuickMeas:InterchPhase:FreqStop Value
|  |  | "" | in:Enable Log:int | :QuickMeas:InterchPhase:FreqLog Value
|  |  | Configure Interchannel Phase Amplitude Sweep | in:Start Amplitude:double | :QuickMeas:InterchPhase:LevelStart Value
|  |  | "" | in:Number Of Steps:int | :QuickMeas:InterchPhase:LevelSteps Value
|  |  | "" | in:Stop Amplitude:double | :QuickMeas:InterchPhase:LevelStop Value
|  |  | "" | in:Enable Log:int | :QuickMeas:InterchPhase:LevelLog Value
|  |  | Configure Interchannel Phase Filter | in:Highpass Filter:ring:hpDC,hpHz22,hpHz100,hpHz400,hpSharp400) | :QuickMeas:InterchPhase:HighpassFilt Value
|  |  | "" | in:Lowpass Filter:ring:lpFsdiv2,lpHzAES20k,lpHzAES40k,lpHzAES80k) | :QuickMeas:InterchPhase:LowpassFilt Value
|  |  | Configure Interchannel Phase Settling | in:Delay:double | :QuickMeas:InterchPhase:SettleDelay Value
|  |  | "" | in:Settle Floor:double | :QuickMeas:InterchPhase:SettleFloor Value
|  |  | "" | in:Settling Algorithm:ring:stlNone,stlExponential,stlFlat,stlAverage,stlSequential) | :QuickMeas:InterchPhase:SettleMethod Value
|  |  | "" | in:Settling Criteria:int | :QuickMeas:InterchPhase:SettleN Value
|  |  | "" | in:Tolerance:double | :QuickMeas:InterchPhase:SettleTolerance Value
}
}
}
{Data |  |  | Read Number Of Sweep Sources | none | :Sweep:Sources?
|  |  | "" | out:Sources:int
|  |  | Read Internal Oscillator Frequency | none | :ClockRef:FreqRdg?
|  |  | "" | out:Frequency:double
| {Digital IO |  | Read Input Carrier Amplitude | none | :DigIO:InputCarrierAmpRdg?
|  |  | "" | out:Amplitude:double
|  |  | Read Measured Sampling Rate | none | :DigIO:MeasISRRdg?
|  |  | "" | out:Sampling Rate:double
}
{Analyzers
|  | {Analog Measurements | Read Analog Frequency | in:Channel:ring:chA¦chB
|  |  | "" | none | :Alyzr(I):AnlgFreqARdg?, :Alyzr(I):AnlgFreqBRdg?
|  |  | "" | out:Analog Frequency:double
|  |  | Read Analog Level | in:Channel:ring:chA¦chB
|  |  | "" | none | :Alyzr(I):AnlgLevelARdg?, :Alyzr(I):AnlgLevelBRdg?
|  |  | "" | out:Analog Level:double
|  |  | Read Analog Phase | in:Channel:ring:chA¦chB
|  |  | "" | none | :Alyzr(I):AnlgPhaseRdg?
|  |  | "" | out:Analog Phase:double
}
|  | {Digital Measurements | Read Digital Frequency | in:Channel:ring:chA¦chB
|  |  | "" | none | :Alyzr(I):DigFreqARdg?, :Alyzr(I):DigFreqBRdg?
|  |  | "" | out:Digital Frequency:double
|  |  | Read Digital Level | in:Channel:ring:chA¦chB
|  |  | "" | none | :Alyzr(I):DigLevelARdg?, :Alyzr(I):DigLevelBRdg?
|  |  | "" | out:Digital Level:double
|  |  | Read Digital Phase | in:Channel:ring:chA¦chB
|  |  | "" | none | :Alyzr(I):DigPhaseRdg?
|  |  | "" | out:Digital Phase:double
|  |  | Read TDD Measurement | none | :Alyzr(i):TimeDomDetector:DetectorRdg?
|  |  | "" | out:TDD Measurement:double
|  |  | Read THD Measurement | none | :Alyzr(i):THD:Distortion0Rdg?
|  |  | "" | none | :Alyzr(i):THD:Distortion1Rdg?
|  |  | "" | out:Measurement 1:double
|  |  | "" | out:Measurement 2:double
|  |  | Read IMD Measurement | none | :Alyzr(i):IMD:DistortionRdg?
|  |  | "" | out:Distortion:double
|  | # Lots O' Commands | Read Multitone Measurements | in:Measurement:ring:THD+N¦THD¦IMD¦Noise¦Total Distortion¦Ripple¦ Loudest Frequency¦Quitest Frequency
|  |  | "" | in:Channel:ring:chA¦chB
|  |  | Read Jitter Measurements | in:Measurement:ring:Time Domain Jitter¦Frequency Domain Jitter
|  |  | "" | none | TimeJitterRdg?,:Alyzr(i):Jitter:FreqRmsJitter?
|  |  | "" | out:Jitter Measured Value:double
|  |  | Read Histogram Measurements | in:Measurement:ring:Mean¦ Standard Deviation
|  |  | "" | in:Channel:ring:chA¦chB
|  |  | "" | none | :Alyzr(i):Histogram:MeanA?, :Alyzr(i):Histogram:StdDevA?[ValueUnit]
|  |  | "" | out:Jitter Measured Value:double
}
}
| {Digitizer |  | Read Number Of Jitter Points | none | :Digitizer:JitterRecLenRdg?
|  |  | "" | out:Points:int
|  |  | Read Sampling Clock Frequency | none | :Digitizer:ClockFreqRdg?
|  |  | "" | out:Clock Frequency:dbl
|  |  | Read Digitizer Jitter | none | :Digitizer:RMSJitterRdg?
|  |  | "" | out:Jitter:dbl
|  |  | Read Asymmetry | none | :Digitizer:AsymmetryRdg?
|  |  | "" | out:Value:dbl
|  |  | Read Effective Jitter Sampling Rate | none | :Digitizer:JitterFsRdg?
|  |  | "" | out:Sampling Rate:double
}
| {Analog Generator |  | Read Effective Analog Generator Sampling Rate | none | :AnlgGen:SampleRateRdg?
|  |  | "" | out:Sampling Rate:double
|  |  | Read Overall Amplitude | none | :AnlgGen:Ch(ch):TotalAmpRdg?
|  |  | "" | out:Amplitude:double
| # What is this about |  | Read Frequency | none | :AnlgGen:Ch(ch):FreqRdg?
|  |  | "" | out:Frequency:double
}
| {Digital Generator |  | Read Digital Gen Total Amplitdue | none | :DigGen:Ch(ch):TotalAmpRdg?
|  |  | "" | out:Amplitude:double
}
| {Quick Measurement |  | Read Current Automated Measurement | none | GetAutomMeasStatus?
|  |  | "" | out:Measurement:string
}
}
{Utility
}
Unused Commands
Command Name | Reason
:ObjString:OpenForm | Form
:ObjString:CloseFormFormID | Form
:ObjString:CloseForms | Form
:DigIO:DelayMode Value | Status
:DigIO:HiliteChStatusDiff Value | Status
:DigIO:SetTxChanStat Channel, Byte, Value | Status
:DigIO:SetTxUserStat Channel, Byte, Value | Status
:DigIO:GetTxChanStat Channel, Byte | Status
:DigIO:GetTxUserStat Channel, Byte | Status
:DigIO:TxChStatModeB Value | Status
:DigIO:TxChStatSelect Value | Status
:DigIO:GetRxChanStat Channel, Byte | Status
:DigIO:GetRxUserStat Channel, Byte | Pro Channel Status
:DigIO:ProAAuxValue | Pro Channel Status
:DigIO:ProACh Value | Pro Channel Status
:DigIO:ProAChMode Value | Pro Channel Status
:DigIO:ProAConf0 Value | Pro Channel Status
:DigIO:ProAConf1 Value | Pro Channel Status
:DigIO:ProAConf2 Value | Pro Channel Status
:DigIO:ProAConf3 Value | Pro Channel Status
:DigIO:ProACrc Value | Pro Channel Status
:DigIO:ProAData Value | Pro Channel Status
:DigIO:ProADest Value | Pro Channel Status
:DigIO:ProAEmph Value | Pro Channel Status
:DigIO:ProAFs Value | Pro Channel Status
:DigIO:ProAFsScl Value | Pro Channel Status
:DigIO:ProAIncCode Value | Pro Channel Status
:DigIO:ProAIncTime Value | Pro Channel Status
:DigIO:ProALcl Value | Pro Channel Status
:DigIO:ProALocked Value | Pro Channel Status
:DigIO:ProAMCh Value | Pro Channel Status
:DigIO:ProARef Value | Pro Channel Status
:DigIO:ProASrc Value | Pro Channel Status
:DigIO:ProATime Value | Pro Channel Status
:DigIO:ProAUser Value | Pro Channel Status
:DigIO:ProAWdLen Value | Pro Channel Status
:DigIO:ProBAuxValue | Pro Channel Status
:DigIO:ProBCh Value | Pro Channel Status
:DigIO:ProBChMode Value | Pro Channel Status
:DigIO:ProBConf0 Value | Pro Channel Status
:DigIO:ProBConf1 Value | Pro Channel Status
:DigIO:ProBConf2 Value | Pro Channel Status
:DigIO:ProBConf3 Value | Pro Channel Status
:DigIO:ProBCrc Value | Pro Channel Status
:DigIO:ProBData Value | Pro Channel Status
:DigIO:ProBDest Value | Pro Channel Status
:DigIO:ProBEmph Value | Pro Channel Status
:DigIO:ProBFs Value | Pro Channel Status
:DigIO:ProBFsScl Value | Pro Channel Status
:DigIO:ProBIncCode Value | Pro Channel Status
:DigIO:ProBIncTime Value | Pro Channel Status
:DigIO:ProBLcl Value | Pro Channel Status
:DigIO:ProBLocked Value | Pro Channel Status
:DigIO:ProBMCh Value | Pro Channel Status
:DigIO:ProBRef Value | Pro Channel Status
:DigIO:ProBSrc Value | Pro Channel Status
:DigIO:ProBTime Value | Pro Channel Status
:DigIO:ProBUser Value | Pro Channel Status
:DigIO:ProBWdLen Value | Pro Channel Status
:DigIO:ConACat Value | Consumer Channel Status
:DigIO:ConACh Value | Consumer Channel Status
:DigIO:ConAClkAcc Value | Consumer Channel Status
:DigIO:ConACopyright Value | Consumer Channel Status
:DigIO:ConAData Value | Consumer Channel Status
:DigIO:ConAEmph Value | Consumer Channel Status
:DigIO:ConAFs Value | Consumer Channel Status
:DigIO:ConAFsOrig Value | Consumer Channel Status
:DigIO:ConAPreRec Value | Consumer Channel Status
:DigIO:ConASrc Value | Consumer Channel Status
:DigIO:ConAWdLen Value | Consumer Channel Status
:DigIO:ConBCat Value | Consumer Channel Status
:DigIO:ConBCh Value | Consumer Channel Status
:DigIO:ConBClkAcc Value | Consumer Channel Status
:DigIO:ConBCopyright Value | Consumer Channel Status
:DigIO:ConBData Value | Consumer Channel Status
:DigIO:ConBEmph Value | Consumer Channel Status
:DigIO:ConBFs Value | Consumer Channel Status
:DigIO:ConBFsOrig Value | Consumer Channel Status
:DigIO:ConBPreRec Value | Consumer Channel Status
:DigIO:ConBSrc Value | Consumer Channel Status
:DigIO:ConBWdLen Value | Consumer Channel Status
:DigIO:ClockOutJitter Value | Uknown
:DigIO:ImpairCableSimValue | Uknown
:DigIO:ImpairCarrierInvert Value | Uknown
:DigIO:ImpairCommonMode Value | Uknown
:DigIO:ImpairCommonModeAmp Value | Uknown
:DigIO:ImpairCommonModeFreq Value | Uknown
:DigIO:ImpairJitterAmp Value | Uknown
:DigIO:ImpairJitterFreq Value | Uknown
:DigIO:ImpairJitterWaveformValue | Uknown
:DigIO:SetJitterEq FileName | Uknown
:DigIO:ImpairNormalMode Value | Uknown
:DigIO:ImpairNormalModeAmp Value | Uknown
:DigIO:ImpairRiseFallTime Value | Uknown
:DigIO:ImpairSendInvalidA Value | Uknown
:DigIO:ImpairSendInvalidB Value | Uknown
:DigIO:OpenChannelStatusBitsForm | Form
:DigIO:CloseChannelStatusBitsFormFormID | Form
:DigIO:CloseChannelStatusBitsForms | Form
:DigIO:OpenUserStatusBitsForm | Form
:DigIO:CloseUserStatusBitsFormFormID | Form
:DigIO:CloseUserStatusBitsForms | Form
:Sweep:Pause | Redundant Command
:Sweep:Resume | Redundant Command
:Sweep:GetState | Query
:Sweep:OpenSettlingForm | Form
:Sweep:CloseSettlingFormFormID | Form
:Sweep:CloseSettlingForms | Form
:Alyzr(i):Jitter:FreqDisplayInterpolation Value | Display
:MultiToneCfg:CloseTonesFormFormID | Form
:MultiToneCfg:CloseTonesForms | Form
:MultiToneCfg:OpenTonesForm | Form
:AlyzrReferences:AnlgdBrA Value | Redundant Command
:AlyzrReferences:AnlgdBrB Value | Redundant Command
:AlyzrReferences:AnlgFreq Value | Redundant Command
:AlyzrReferences:dBmZ Value | Redundant Command
:AlyzrReferences:WattsZ Value | Redundant Command
:AlyzrReferences:DigdBrA Value | Redundant Command
:AlyzrReferences:DigdBrB Value | Redundant Command
:AlyzrReferences:DigFreq Value | Redundant Command
:AlyzrReferences:DigVfs Value | Redundant Command
:Digitizer:DisplayInterp Value | Display
:ClockRef:ExtTermValue | Status
:ClockRef:AESTermValue | Status
:Monitor:* | System Sounds / Monitor Settings
:Instrument:* | Instrument User Interface
:Preferences:* | Settings for physical instrument
:Scripting:* | Non-supported scripting API
:Displays:* | Display Commands
:Switcher:IdentifySwitch Name | Audiable instrument interactivity
:AnlgGen:InvertEq Value | Status
:QuickMeas:Notes Value | Measurment Report
:QuickMeas:ClearReport | Measurment Report
:QuickMeas:OpenReport | Measurment Report
:QuickMeas:CloseReport | Measurment Report
:QuickMeas:ExportReportPDF FileName | Measurment Report
:QuickMeas:UpdateReportNotes | Measurment Report
:QuickMeas:OpenAutomMeasForm | Form
:QuickMeas:CloseAutomMeasFormFormID | Form
:QuickMeas:CloseAutomMeasForms | Form
:Alyzer(I):EU* | Conversion Factors
IRNumPoints? | potential read command
LastMeas? | Large Ring Measurement
:Alyzr(i):Jitter:FreqShowAllLines Value | Display
:EventMgr:* | Scripting
:AnlgGen:Ch(ch):Arb(i):NumPointsRdg? | Unknown
:Digitizer:GetXData? DgtzrMeas, UnitString | Instrument Graph Data